## Slide 1: MUSE The Multi Unit Spectroscopic Explorer
Muse Consortium: CRAL Lyon AIP Potsdam, ESO, ETH Zurich, IRAP Toulouse, Leiden, IAG Gottingen
Project kick-off: 2005-01-18
PDR: 2007-07-17
FDR: 2009-03-12
PAE: 2013-09-10
Instrument integration
and Commissioning:
2014-01-29 – 02-20

## Slide 2
MUSE on the UT4 Nasmyth B platform
Calibration Unit
IFUs
Electronics
cabinets
Cooling system
Fore-optics
system

## Slide 4: MUSE capabilities and observing modes
Characteristics and observing capabilities:
Wavelength range 480-930 nm (nominal)
465-930 nm (extended)
Resolving power 1770 (480 nm) – 3590 (930 nm) (WFM)
1740 (480 nm) - 3450 (930 nm) (NFM)
Detector 4k x 4k MIT/LL CCD
Field of view 59.9’’x60.0’’ (WFM)
7.42’’x7.43’’ (NFM)
Spatial sampling 0.2’’x0.2’’ (WFM)
0.025’’x0.025’’ (NFM)
Observing modes

## Slide 5
IFU layout and
spatial/spectral format

## Slide 7: Raw Arc Frame 0.9 GB

## Slide 8: Master flat frame recipe: muse_flat time performance: -nifu=-1, 2.5 min -nifu=0, 12 min products: 24 x MASTER_FLAT 24 x 0.2 GB or merged MASTER_FLAT 5 GB 24 x TRACE_TABLE

## Slide 9: Master arc frame recipe: muse_wavecal time performance: -nifu=-1, 6 min -nifu=0, 32 min products: 24x reduced master arc image 24x0.2 GB 24x wavelength calib. table

## Slide 10: Data format
......
X 24
Raw data
Pipeline Product
…..
data
DQ
stat
data
DQ
stat
X 24
fitsMerge
…..
X 72
0.9 GB
24 x 0.2 GB
5 GB

## Slide 11: Calibration cascade

## Slide 12: QC Parameters
MASTER_BIAS - per channel / per quadrant
MASTER-FLAT - per channel / per slice
TRACE_TABLE - per channel
WAVECAL_TABLE – per channel / per slice