## general
Structure of uves qc1 tables
Version: 1.1 - 2002-08-05
There is basically one table per type of raw frame.
uves_qc1:
uves_bias
uves_dark
uves_wave
uves_flat
uves_fmtchk
uves_orderdef
uves_std
Each table description has three sections:
1. General keywords
like PIPEFILE etc. These are needed for eventual matching across databases (e.g. with science archive)
2. Specific QC1 keywords
the real QC1 parameters
3. Instrument keywords
inherited from the raw files
The column plot_flag is evaluated by the module qc1_plot to determine parameters for the trending plots and to create the qc1_plot interface.
The columns sort_flag and keyword_type are evaluated by modules qc1_browse and qc1_plot to provide a user-defined sorting.

## tables
tables
This table describes the general structure of the UVES part of the QC1 database.
The 'description' field is evaluated for the general and the instrument-specific interfaces.
instrument | table_name | sort_flag | description
uves | uves_bias | 1 | UVES QC1 values related to bias frames
uves | uves_dark | 2 | UVES QC1 values related to dark frames
uves | uves_wave | 5 | UVES QC1 values related to wavelength calibration (arclamp) frames
uves | uves_flat | 6 | UVES QC1 values related to flat frames (incl. deuterium and iodine cell)
uves | uves_fmtchk | 3 | UVES QC1 values related to formatcheck frames
uves | uves_orderdef | 4 | UVES QC1 values related to order definition frames
uves | uves_std | 7 | UVES QC1 values related to standard star frames

## uves_bias
back to main description
uves_bias
This table describes the qc1 parameters for BIAS raw files and master_bias product files.
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_MBIA_020615A_REDL_1x1.fits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10 | civil date
2. Specific QC1 keywords:
median_master | PRO.DATAMED | float | xyd | qc1 | 20 |  | NULL | 141.455 | median value of master bias
sigma_raw | QC.OUT1.RON.RAW | float | xy | qc1 | 22 |  | NULL | 3.6733 | RON value of first raw frame
sigma_master | QC.OUT1.RON.MASTER | float | xy | qc1 | 21 |  | NULL | 1.9692 | RON value of master bias
struct_row | QC.OUT1.STRUCTX | float | xy | qc1 | 23 |  | NULL | 0.1008 | structure in X direction
struct_col | QC.OUT1.STRUCTY | float | xy | qc1 | 24 |  | NULL | 0.1186 | structure in Y direction
mean_ratio_ref | NULL | float | xy | qc1 | 25 |  | NULL | 1.023 | ratio to reference frame
sigma_ratio_ref | NULL | float | xy | qc1 | 26 |  | NULL | 0.012 | sigma of mean_ratio_ref
3. Instrument keywords:
det_out1_conad | DET.OUT1.CONAD | float |  | ins | 32 |  | NULL | 0.6 | conversion from ADUs to electrons
bin | NULL | varchar | f | ins | 30 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 31 | 1 | NOT NULL | B | CCD ID (B/U/L)

## uves_dark
back to main description
uves_dark
This table describes the qc1 parameters for DARK raw files and master_dark product files. Note: there are just a few of them.
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_MDRK_020615A_REDL_1x1.fits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10
2. Specific QC1 keywords:
mean_raw | NULL | float | xy | qc1 | 22 |  | NULL | 141.455 | mean value of raw frame
mean_dark | NULL | float | xy | qc1 | 21 |  | NULL | 3.6733 | mean value across master dark
current_dark | NULL | float | xyd | qc1 | 20 |  | NULL | 3.6733 | mean_dark, normalized to 3600 secs exposure time
exptime | EXPTIME | float | xy | qc1 | 23 |  | NULL | 3600.034 | exposure time in secs.
3. Instrument keywords:
det_out1_conad | DET.OUT1.CONAD | float |  | ins | 32 |  | NULL | 0.6 | conversion from ADUs to electrons
bin | NULL | varchar | f | ins | 30 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 31 | 1 | NOT NULL | B | CCD ID (B/U/L)
type_flag | NULL | varchar | f | ins | 33 | 4 | NOT NULL | DARK | type of dark: DARK = shutter closed, PAR = parasitic dark (shutter open)

## uves_wave
back to main description
uves_wave
This table describes the qc1 parameters for WAVE raw files and their product tables (line tables PLI2). Note: they have SLITW as additional instrument keyword.
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_PLI2_020615A_BLUE437bl_1x1_08.tfits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10
2. Specific QC1 keywords:
lambda_min | QC.WLENMIN | float |  | qc1 | 30 |  | NULL | 476.11 | minimum wavelength [nm]
lambda_max | QC.WLENMAX | float |  | qc1 | 31 |  | NULL | 477.11 | maximum wavelength [nm]
order_min | QC.ORDMIN | integer |  | qc1 | 32 |  | NULL | 106 | minimum order number
order_max | QC.ORDMAX | integer |  | qc1 | 33 |  | NULL | 107 | maximum order number
resid_avg | QC.LINE.RESIDAVG | float | xy | qc1 | 24 |  | NULL | -0.0012 | mean residual of line positions to fit [milli-A]
resid_rms | QC.LINE.RESIDRMS | float | xy | qc1 | 25 |  | NULL | 0.2058 | sigma of residual of line positions to fit [milli-A]
resol_med | QC.RESOLMED | float | xyd | qc1 | 20 |  | NULL | 114012 | median resolving power of lines selected
resol_rms | QC.RESOLRMS | float | xy | qc1 | 21 |  | NULL | 14114.2 | sigma of resolving power of lines selected
fwhm_med | QC.FWHMMED | float | xy | qc1 | 22 |  | NULL | 1.9636 | median FWHM in X of lines selected
fwhm_rms | QC.FWHMRMS | float | xy | qc1 | 23 |  | NULL | 2.9636 | sigma of FWHM in X of lines selected
nlin_tot | QC.NLINTOT | integer | xy | qc1 | 26 |  | NULL | 1196 | total number of lines found
nlin_res | QC.NLINRES1 | integer | xy | qc1 | 27 |  | NULL | 595 | number of lines with residuals < 0.1
nlin_sel | QC.NLINSEL | integer | xy | qc1 | 28 |  | NULL | 557 | number of lines selected
ins_temp4_mean | INS.TEMP4.MEAN | float | xy | qc1 | 29 |  | NULL | 9.6 | average temperature inside air [C]
3. Instrument keywords:
lambda_central | NULL | float | f | ins | 40 |  | NULL | 580 | grating central wavelength [nm]
slit_width | NULL | float | fxy | ins | 43 |  | NULL | 0.3 | slit width [arcs]
bin | NULL | varchar | f | ins | 42 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 44 | 1 | NOT NULL | B | CCD ID (B/U/L)
ins_mode | INS.MODE | varchar | f | ins | 41 | 10 | NOT NULL | RED | mode (red/blue/di#1/di#2)

## uves_flat
back to main description
uves_flat
This table describes the qc1 parameters for FLAT raw files and their products (master flat frames). Note: they have SLITW as additional instrument keyword.
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_MFLT_020615A_REDL580re_1x1_08.fits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0000.fits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10
2. Specific QC1 keywords:
ins_temp4_mean | INS.TEMP4.MEAN | float | xy | qc1 | 25 |  | NULL | 9.6 | average temperature inside air [C]
delta_temp4 | NULL | float | xy | qc1 | 26 |  | NULL | 1.1 | difference temp4_mean to reference
delta_y | NULL | float | xy | qc1 | 27 |  | NULL | 0.4 | difference Y-shift to reference
mean_master | DATAAVG | float | xy | qc1 | 23 |  | NULL |  | mean value across master frame
sigma_ph | NULL | float | xyd | qc1 | 20 |  | NULL |  | photon noise
sigma_dx | NULL | float | xy | qc1 | 21 |  | NULL |  | noise from DX derivative
signal_master | NULL | float | xy | qc1 | 24 |  | NULL |  | mean value across subwindow
sigma_dy | NULL | float | xy | qc1 | 22 |  | NULL |  | noise from DY derivative
3. Instrument keywords:
lambda_central | NULL | float | f | ins | 30 |  | NULL | 580 | grating central wavelength [nm]
slit_width | NULL | float | fxy | ins | 33 |  | NULL | 0.3 | slit width [arcs]
bin | NULL | varchar | f | ins | 32 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 34 | 1 | NOT NULL | B | CCD ID (B/U/L)
ins_mode | INS.MODE | varchar | f | ins | 31 | 10 | NOT NULL | RED | mode (red/blue/di#1/di#2)
exptime | EXPTIME | float | xy | ins | 28 |  | NOT NULL | 6.002 | exposure time (secs)
lamp | NULL | varchar | f | ins | 35 | 5 | NULL | FF | FF lamp switched on (FF/DEU/I2)

## uves_fmtchk
back to main description
uves_fmtchk
This table describes the qc1 parameters for FORMATCHECK raw files and their product table (PDRS).
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_PDRS_020615A_BLUE437bl_1x1.tfits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10
2. Specific QC1 keywords:
lambda_min | QC.WLENMIN | float |  | qc1 | 31 |  | NULL | 476.11 | minimum wavelength [nm]
lambda_max | QC.WLENMAX | float |  | qc1 | 32 |  | NULL | 477.11 | maximum wavelength [nm]
order_min | QC.ORDMIN | integer |  | qc1 | 33 |  | NULL | 106 | minimum order number
order_max | QC.ORDMAX | integer |  | qc1 | 34 |  | NULL | 107 | maximum order number
mean_dx | QC.MODEL.DIFFXAVG | float | xy | qc1 | 22 |  | NULL | 1.34 | difference of X positions to physical model
sigma_dx | QC.MODEL.DIFFXRMS | float | xy | qc1 | 23 |  | NULL | 0.35 | rms of difference of X positions to physical model
mean_dy | QC.MODEL.DIFFYAVG | float | xyd | qc1 | 20 |  | NULL | 1.34 | difference of Y positions to physical model
sigma_dy | QC.MODEL.DIFFYRMS | float | xy | qc1 | 21 |  | NULL | 0.35 | rms of difference of Y positions to physical model
median_shftx | QC.SHFTXMED | float | xy | qc1 | 24 |  | NULL | -1.34 | median of difference in X to reference frame
median_shfty | QC.SHFTYMED | float | xy | qc1 | 25 |  | NULL | -7.2 | median of difference in Y to reference frame
nlin_all | QC.MODEL.NLINALL | integer | xy | qc1 | 26 |  | NULL | 1196 | total number of lines found
nlin_sel | QC.MODEL.NLINSEL | integer | xy | qc1 | 27 |  | NULL | 557 | number of lines selected
ins_temp4_mean | INS.TEMP4.MEAN | float | xy | qc1 | 28 |  | NULL | 9.6 | average temperature inside air [C]
ins_temp1_mean | INS.TEMP1.MEAN | float | xy | qc1 | 29 |  | NULL | 9.6 | average temperature of camera [C]
ins_press_mean | INS.SENS26.MEAN | float | xy | qc1 | 30 |  | NULL | 736.1 | barometer pressure
3. Instrument keywords:
lambda_central | NULL | float | f | ins | 40 |  | NULL | 580 | grating central wavelength [nm]
bin | NULL | varchar | f | ins | 42 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 43 | 1 | NOT NULL | B | CCD ID (B/U/L)
ins_mode | INS.MODE | varchar | f | ins | 41 | 10 | NOT NULL | RED | mode (red/blue/di#1/di#2)

## uves_orderdef
back to main description
uves_orderdef
This table describes the qc1 parameters for ORDER_DEFINITION raw files and their product table (order table PORD, background table PBKG).
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_PORD_020615A_BLUE437bl_1x1.tfits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10
2. Specific QC1 keywords:
order_min | QC.ORDMIN | integer |  | qc1 | 26 |  | NULL | 106 | minimum order number
order_max | QC.ORDMAX | integer |  | qc1 | 27 |  | NULL | 107 | maximum order number
resid_min | QC.ORD.RESIDMIN | float | xy | qc1 | 21 |  | NULL | -0.54 | minimum value of residuals
resid_max | QC.ORD.RESIDMAX | float | xy | qc1 | 22 |  | NULL | 0.48 | maximum value of residuals
resid_mean | QC.ORD.RESIDAVG | float | xyd | qc1 | 20 |  | NULL | -0.001 | mean value of residuals
resid_sigma | QC.ORD.RESIDRMS | float | xy | qc1 | 23 |  | NULL | 8.45 | rms value of residuals
npos_all | QC.ORD.NPOSALL | integer | xy | qc1 | 24 |  | NULL | 1196 | total number of positions found
npos_sel | QC.ORD.NPOSSEL | integer | xy | qc1 | 25 |  | NULL | 557 | number of positions selected
qc1
3. Instrument keywords:
lambda_central | NULL | float | f | ins | 30 |  | NULL | 580 | grating central wavelength [nm]
bin | NULL | varchar | f | ins | 32 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 33 | 1 | NOT NULL | B | CCD ID (B/U/L)
ins_mode | INS.MODE | varchar | f | ins | 31 | 10 | NOT NULL | RED | mode (red/blue/di#1/di#2)

## uves_std
back to main description
uves_std
This table describes the qc1 parameters for STANDARD raw files and their products (response curve PRSP, efficiency table PEFC).
The field plot_flag configures the choices for the plot interface. Map:
xy | plottable on X or Y axis
xd,yd | default choice for X / Y axis
f | appears as filter
field_name | keyword_name | field_type | plot_flag | keyword_type | sort_flag | length | default_value | example | description
1. General keywords:
cdbfile | NULL | varchar |  | gen | 3 | 80 | NULL | UV_PRSP_020615A_BLUE437bl_1x1.tfits | given name of associated calibration file
pipefile | PIPEFILE | varchar |  | gen | 5 | 45 | NULL | r.UVES.2002-06-16T11:43:03.024_0001.tfits | pipefile_name of associated calibration file
arcfile | PRO.ARCFILE | varchar |  | gen | 6 | 45 | NULL | UVES.2002-06-16T11:43:03.024.fits | arcfile_name of (first) raw file
origfile | ORIGFILE | varchar |  | gen | 4 | 80 | NULL | UVES_DIC1R_OBS169.9.fits | original file name of (first) raw file (PSO convention)
mjd_obs | MIJD-OBS | float | xdy | gen | 1 |  | NOT NULL | 52441.4882 | MJD-OBS of (first) raw file
tpl_start | TPL.START | varchar |  | gen | 9 | 20 | NULL | 2002-06-16T11:41:30 | TPL start time
civil_date | NULL | datetime |  | gen | 2 |  | NULL | 2002-05-10 | Civil date
2. Specific QC1 keywords:
mean_raw | NULL | float | xy | qc1 | 23 |  | NULL | 164.4 | mean level of raw file
mean_resp | NULL | float | xy | qc1 | 22 |  | NULL | 0.385 | mean level of response curve
lambda_min | NULL | float |  | qc1 | 25 |  | NULL | 476.11 | minimum wavelength [A]
lambda_max | NULL | float |  | qc1 | 26 |  | NULL | 477.11 | maximum wavelength [A]
n_order | NULL | integer |  | qc1 | 27 |  | NULL | 35 | number of orders
max_effic | NULL | float | xyd | qc1 | 20 |  | NULL | 0.22 | efficiency value at wave_c
wave_c | NULL | float | xy | qc1 | 21 |  | NULL | 3856.9 | central blaze wavelength
ins_temp4_mean | INS.TEMP4.MEAN | float | xy | qc1 | 28 |  | NULL | 9.6 | average temperature inside air [C]
airmass | NULL | float | xy | qc1 | 24 |  | NULL | 1.043 | average airmass during exposure
3. Instrument keywords:
lambda_central | NULL | float | f | ins | 40 |  | NULL | 580 | grating central wavelength [nm]
bin | NULL | varchar | f | ins | 42 | 3 | NOT NULL | 1x1 | binning in X and Y direction
chip | NULL | varchar | f | ins | 43 | 1 | NOT NULL | B | CCD ID (B/U/L)
ins_mode | INS.MODE | varchar | f | ins | 41 | 10 | NOT NULL | RED | mode (red/blue/di#1/di#2)
det_out1_conad | DET.OUT1.CONAD | float |  | ins | 31 |  | NULL | 0.6 | conversion from ADUs to electrons
obs_targ_name | OBS.TARG.NAME | varchar |  | ins | 32 | 15 | NOT NULL | LTT1346 | name of standard star
type_flag | NULL | varchar | f | ins | 34 | 1 | NOT NULL | S | S = usual STD observation, N = nighttime STD
slit_width | NULL | float |  | ins | 29 |  | NULL | 0.3 | slit width [arcs]
slit_length | NULL | float |  | ins | 30 |  | NULL | 12 | slit length [arcs]