Technical Report – ICD between ATCS and Strap
1/1 


ICD between AT Control System, 


 STRAP and M6 sub-systems

Issue 3.0 – 28/07/1999

G.Chiozzi, P.Duhoux, R.Karban
M.Comin, D.Bonaccini
This document is intended to be used as a base for discussion to define the interfaces between the AT Control System and the Field Stabilization System (FSS, STRAP) and M6.

It describes how we intend to use the FSS from the ATCS and is based on the meeting of 28/01/1999 and on the meeting of 23/03/1999 (when a first issue of this same document has been discussed), so that we can verify that our assumptions are correct and modify whatever is necessary.

All the sections included in this proposal are or will be part of ATCS official documents (requirement, specification, design or interface documents). 

It contains the following sections:

· Architectural description of the ATCS Field Stabilization and Chopping subsystems, describing how we intend to use internally the described interfaces.   

· Use Cases
Use Cases describe step by step how the ATCS interacts with external subsystems. We have included here all Use Cases related with the FSS and the M6

· Preliminary ICD between ATCS and FSS and M6

Table of contents

1Table of contents

HW Architecture of STRAP
3
1.
SW Architecture
4
1.1
Existing STRAP functionalities
4
1.2
AT specific required extra functionalities
6
Sensor Tracking control loop
6
1.4
Chopping control loop
7
1.5
M6 offsets control loop
9
Use Cases
9
Sensor tracking??
9
1.6
Use Case:  Start Sensor Tracking??
9
1.7
Use Case:  Stop Sensor Tracking
11
1.8
Collaboration Case:  Move Probe to Guide Star
12
1.9
Collaboration Case:  Field Stabilization Control Loop
13
1.10
Use Case: Display Guide Detector Signals
15
1.11
Use Case:  Set Guide Parameters
16
1.12
Use Case: Set Guide Reference Point
17
Chopping
18
1.13
Use Case:  Start Chopping
18
1.14
Use Case:  Stop Chopping
19
1.15
Use Case:  Configure Chopping
20
1.16
Collaboration Case:  Chopping Control Loop
21
Field Stabilization / APD Sensor
24
1.17
Use Case:  Start FSS Acquisition
24
1.18
Use Case:  Stop FSS Acquisition
25
1.19
Use Case:  Prepare FSS Setup
26
1.20
Use Case:  Send FSS Setup
27
1.21
Use Case:  Set FSS Aperture Field Diaphragm
28
1.22
Collaboration Case: Open APD Loop
29
1.23
Collaboration Case: Close APD Loop
29
1.24
Collaboration Case: Set APD Gate
30
1.25
Collaboration Case:  Update Interaction Matrix
31
FSS Translation Stage
32
1.26
Use Case:  Set FSS Translation Stage
32
1.27
Collaboration Case:  FSS Translation Stage Control Loop
33
M6
35
1.28
Use Case:  Center M6
35
1.29
Use Case:  Set M6 Tilt Angles
35
1.30
Use Case:  Get M6 Tilt Angles
36
1.31
Collaboration Case:  M6 Control Loop
37
Preliminary ICD
38
1.32
Sensor LCU
38









































HW Architecture of STRAP
The STRAP units may be applied to the VLT instruments for field stabilization, to remove the atmospheric and environmentally induced tilts. STRAP is to be used also for the VLT and VLTI adaptive optics, in the UTs and ATs.

The STRAP system is a self-consistent system, which comes with its hardware and software interfaces, user, operation and maintenance manuals. STRAP encompasses a photon-counting visible sensor, the housekeeping and the loop control hardware/software. The input is a signal from a Natural Guide Star (NGS) focussed on the sensor unit, the output is a command signal, optionally analog or digital, which can drive most commercial steering mirrors drivers. It is possible to drive also M2 (or M6 for the ATs) in fast guiding mode. The STRAP board needs to be inserted in an standard VME 19’ – 6HE rack with an CPU, LAN connection, an optional dedicated LAN connection to M2, a MAC4/INC motor controller , a VME4SA DC motor servo-amplifier and an HP Workstation as console. Some or all of these boards may be shared with an AO system such as MACAO, or with an associated instrument. 

STRAP as delivered consists of two separate units:
1.
a photon counting sensor head, composed by an APD quad-cell with its lenslet array. The image of the tip-tilt natural guide star is focussed on the lenslet array. The sensor head electronics transforms each photon detected into a TTL pulse. The four TTL signals of the quad-cell are passed to the STRAP VME board. A variable aperture diaphragm is present to limit the sky background if necessary and its micro-motor + encoders are controlled by one channel of the MAC4/INC and VME4SA boards. Also a neutral density wheel is present to limit the flux below a predefined threshold.
[image: image2.wmf]TCS

Fast 

Steering Mirror

+ HV amplifiers

M2 Fast 

Guiding



M

2



 L

A

N



T

I

M



V

M

E

4

S

A

Tip-Tilt Loop

LAN

f/36 or slower beam

All cables to Sensor Head 15m max

filter

coolant

optional M2 control

Diaphragm Control

Diaphragm

STRAP Sensor Head

V

M

E

S

T

R

A

P



V

M

E



L

C

U



HP 

Workstation



M

A

C

4

/

I

N

C

2.
A VME DSP-based control board, located on the VME rack at a distance not greater than 15m. It controls the loop in real time, it performs all the necessary housekeeping and data gathering for the diagnostics. The Local Control Unit [LCU] on the same rack dialogues with the board via the VME bus, and uses the data for diagnostic and setup. An RS232 serial output port on the STRAP is also available to give a similar access to the DSP board for servicing and diagnostics. The control board can drive a steering mirror unit for the feedback, digitally via the VME bus or directly with an analog or digital output signal. The former is used to drive directly the UT M2 (AT M6) steering mirror via a dedicated ethernet LAN.   

1. SW Architecture
The real-time control of the Field Stabilization System and of the M6 is deployed in the STRAPDSP controller on the VMESTRAP board. The DSP acts as real time computer for the fast tip-tilt servo-loop. The VMESTRAP board is inserted in a standard ESO VME rack, whose LCU supervises it. For the ATs, functionalities will be added as described in the LCU is also responsible for controlling the STRAP  Sensor Head  Translation Stage, having it tracking the NGS on the field plane, the Neutral Density Filter wheels
1.1 Existing STRAP functionalities

The SW to be built specifically for the AT application will add functionalities to the existing supervisory LCU SW of STRAP. It will run extra processes on the STRAP rack LCU. The existing STRAP functionalities at LCU level are [see Mauro Doc]:

1. Supervise as master all the VMESTRAP board functionalities, including:
· option to download the DSP program overriding the firmware, or to SW reset the VMESTRAP

· changing the loop parameters such as integration time, gain, cut-off frequency, interaction matrix  and digital filtering coefficients. These can be changed on the fly, and are applied at the next loop iteration 
· Set open loop DC offsets to the steering mirror (AT M6). The offsets are overridden in closed loop operation.

· Set the maximum counts limit at which gating is started
· changing the board setup for the temperature control, the APD hold-off time, the bias high voltages applied to the APDs
· defining the diagnostic data buffer length

· defining the  real time data circular buffer length 
· downloading tilt disturbance files for engineering testing. 
2. Implement a watchdog for the communication between VMESTRAP and the LCU. This is a safety measure to switch off the APDs and shut down VME-STRAP in case the communication with LCU is lost.
3. Implement and update periodically  the database containing: 

· the VMESTRAP board configuration setup and status

· statistical performance data, such as mean and rms centroids in arcsec, mean and rms mirror commands in arcsec, mean and rms cts/s on the APD, mean photon flux in ph/s and NGS magnitude, mean and rms tilt contribution to the Strehl Ratio at user selected band [e.g. K]
· APD parameters

· Temperature and Peltier thermocooler current

· Overcount protection circuit status

4. In closed loop, monitor the APD counts average fluctuations to detect cirrus or other clouds. In case flux is lost, open the loop [high level function to be implemented in release 3]
5. In closed-loop, real time mode, receive real time data (APD counts, mirror commands) at loop rates and: 
· Receive and store them sized at data buffer record lengths if required
· use them to compute the digital filtering coefficients on the fly [adaptive filtering]
·  if it is required to drive M2, pass the commands to M2 via the dedicated LAN using the existing protocols [to be implemented at STRAP SW release 2]
·  share the memory location of real time data with other boards on the same bus [e.g. an high order loop RTC] if required.
6. Perform safety double checks on temperature and APD high voltages  parameters, as well as the temperature loop status. Prevents to manually  set high voltages above safety values, and to set voltages before the APD temperature loop is closed and stable. It shuts down HV and APD temperature loop if:

· The overcount protection circuit is active

· The Peltier current is above a pre-set threshold 

· The watchdog reports a loss of contact with VMESTRAP
7. At the very beginning of the night, perform a bootstrap set of functions such as:

· Run through a self-test procedure

· Position the density wheels to maximum density

· Position the field diaphragm to full open

· Check that the cooling water temperature is below a predefined threshold
[to be implemented at STRAP SW release 3]
8. During the pointing of a new target for fast steering, as soon as a NGS is positioned on the sensor, start the pre-CL operations:

· If magnitude of NGS is known from BOB, set the neutral density filter wheel to the appropriate position to ensure as much flux as the APD dynamic range allows.
· If magnitude of NGS is not know, an automatic procedure is run to find the flux
· If NGS size and sky background are known [from BOB and TCS, respectively], select the appropriate field diaphragm size, and set the loop gain scaled according to NGS size.

· IF NGS size is not known, a procedure to measure the sensor gain curve with the NGS is necessary, if the gain has to be optimized [JFA, can we adptively change the loop gain?]
· Close the temperature loop at –15(C, compute and set the appropriate HVs
· Open the APD gating to 100%, and check the flux. If necessary, close gating and change neutral density to different value. If not necessary, determine from a look-up table the digital filter starting parameters, and the loop integration times.
· If the NGS is not sufficiently centered on the quad-cell:

·  Either run the STRAP automatic centering procedure, or

· flag to supervisory SW, to move the FSS translation stage.
· If flux is below a preset threshold AND sky background is low: set gating to zero, remove HV, set APD operating temperature to  -30(C,  set hold-off time on, compute new HV values and set them. Open gating to 100%, set into VMESTRAP the digital filter coefficients from look-up table
. [to be implemented at STRAP SW release 3]

9. Interaction Matrix determination. This is done having an artificial source at the input focus conjugate. The procedure has to be done normally once per optomechanical set-up if the optomechanics is stable.
10. Determination of the spot-offset: this procedure is centering the spot on the quad-cell sensor when the star is initially poiited, using the steering mirror.

11. Setting the diaphragm size. This procedure is implemented to optimize the field diaphragm size, if the observer does not know the optimal value. . [to be implemented at STRAP SW release 3]
1.2 AT specific required extra functionalities
The AT specific extra tasks installed and running on this LCU are responsible for:

· Chopping

· M6 position control

· FSS sensor tracking

In the following, these three functionalities are named ‘control loops’.
All required functions for the APD and M6 control are directly available at the LCU level, in the current STRAP SW..
The LCU will host 3 additional real-time control loops, that will be synchronized with each other. 
To perform some operations and in particular during system configuration and maintenance, it will be necessary to have the APD working both in:

· Closed loop, i.e. sending actual corrections to M6

· Open loop, i.e. performing all necessary calculations and calculating error vectors, but without sending corrections to M6

This is possible already, however the open loop data have a small range of linearity. What is the use of open loop data?
It will be also necessary to have “single shot” exposures, where an error vector is calculated for a single exposure (it could actually give better results to have it calculated as the mean over a small number of exposures, but this should be transparently handled).
This is possible already, the diagnostic data are in the data-base. Full data at each loop step can be obtained requesting a data sequence of ‘data_buffer_length’ length. 
It is also necessary in many different occasions to convert in both directions between M6 coordinates and sky coordinates. A convenient way to perform these conversions using the currently installed Interaction Matrix (or its inverse matrix) should be provided  (TO BE DISCUSSED).
The current IM is available in the data base. The axis rotation between M6 and quad-cell, associated to the IM in the data base depends on the configuration when it was taken. It can be retrieved mathematically by diagonalizing the current IM and looking at the eigenvectors. This SW does not exist on STRAP.
1.3 Sensor Tracking control loop

-
The ATCS Guiding software needs  to periodically check the operation of the STRAP System and stop it if necessary. This is done using the diagnostic data in the data base of STRAP. STRAP SW performs a set of native checks, which are a subset of the ATCS FS SW. 
The ATCS Requirements specify the need of synchronizing the acquisition system with the guiding loop.  The best way to do so, is to set the diagnostic buffer length of STRAP at the appropriate rate. To have statistical meaning, the diagnostic should be made with more than 100 integration time samples [FSS loop clock]. The guiding loop signal would be the DC offset (mean) of the M6 signals, stored in the database. 

The synchronization procedure with the STRAP diagnostic loop must be analyzed in detail. It is important:

· To warrant that a coherent set of diagnostic data can be read (no write while reading) 

· To measure timing jittering and maximum delay for the delivery of diagnostic data.

MAURO, has this been done??

The diagnostic data loop will be used for real time synchronization and must be very well characterized. A time jitter of 5 msec is acceptable [TBC].
This can be implemented writing a process which makes available to the guiding loop the data, as soon as the data base is refreshed. The guiding loop should be alerted with a flag of this condition. On the UTs, this is implemented between the TCCD system and the AG/FS loops by means of a user-defined function hook

· 
· 
Depending on the performance of the FSS Translation Table tracking, it might be necessary to interpolate the Guide Reference Point between two updates of the FSS Translation Table

position. See FSS Translation Stage Control Loop for details. In fast steering, this means to introduce offsets in the sensor data, well within the linearity range of the sensor (e.g. offsets <0.1 arcsec). The fast steering control loop performance with offsets has not been proven/tested on STRAP.
. 
The details of the hook function are application specific, the interface is TBD (shall try to match the existing one). The function shall have access to the database diagnostic  parameters.
· STRAP can accept as configuration parameter the name of a hook function

· This function, if defined, is called by STRAP at each cycle of the telescope guiding control loop (both in open loop and close loop), after having evaluated the error vector, i.e. the mean of the mirror commands in the diagnostic buffer.. 

· The function must return as soon as possible, in order not to affect the STRAP control loop performances.

On the ATCS guiding control loop side:

· Typically the hook function just delivers the useful data in a proper memory area and releases a semaphore used to trigger the next iteration of the FS control loop.

· The FS control loop waits on this semaphore for a new error vector to be delivered.

· When the semaphore is released, it retrieves the error vector coordinates and can process them without interfering with the APD control loop.

The AT Field Stabilization Control Loop is also responsible for:

· Coordination with chopping

· Coordination with the FSS Translation Table tracking software

· Setting the APD reference point offset, if tracking FSS Translation Table will track stepwise and not continuously (TBC). This latter function requires a modification of the VMESTRAP code, and has to be tested before implementing it.
1.4 Chopping control loop

The chopping control loop will be running every time chopping is active at the selected chopping frequency. 

It is responsible for:

· Opening the STRAP control loop whenever the M6 must be moved in OFF (sky) position.
This will be done by software control or using the digital gate control line. 
· Chopping M6, i.e. moving it between the two positions as configured.

· Handle M6 alignment offsets that define the logical center position based on the optical alignment.

· Keep track of the nominal offset of M6 at any time, i.e. of the fact that M6 logical center position depends on the current chopping phase.

The control loop must ensure that offsets to M6 are sent during field stabilization only with the loop open, to avoid counter reaction from the STRAP control loop.
Chopping with STRAP current SW is possible if the following actions are taken, summarized in a single command line:

OFF:


· set desired M6 offset in the VMESTRAP, in arcsec from M6 nominal 0,0 position
· close the gate of the APDs

· Open the STRAP loop

· Wait for M6 mirror to settle before allowing science camera to take data

ON:

· Set previous M6 offset value in VMESTRAP
· Wait for M6 to move and settle

· Open the gate of APDs

· Close the loop if there is flux
The two sequences could be built as one command with parameters for the VMESTRAP SW, directly accessible from the LCU. This would ensure a good timing. The toggling ON/OFF would then be the command needed. 
The VME bus should ensure sufficiently small time jitter for chopping, considering the M6 settling time in the order of milliseconds. If tests will show that this is not the case, the digital gating TTL signal could be enabled to toggle the ON/OFF actions. 
1.5 M6 offsets control loop 

In order to compensate for possible tracking drifts, the M6 control loop runs at low frequency and is responsible for keeping M6 near its (logical) center position, so as avoid the risk of reaching the limits. 

The absolute tilt angles of M6 are queried by the M6 Control Loop and opposite corrections are sent to the telescope altitude and azimuth axes as autoguiding offsets. The STRAP control loop will bring M6 back to the center automatically, since M6 is much faster than the main axes. The conversion of the M6 axis orientations and the alt-az coordinates must be ensured. The process can be run if the ATCS uses the diagnostic data M6 means, averages them for the required sampling period of this loop [a multiple of the diagnostic time], and send the command to the telescope pointing.
Use Cases

Sensor tracking??
1.6 Use Case:  Start Sensor Tracking??
DBO_Note: It seems that this function exist in STRAP SW, if it is the fast steering loop and not the sensor tracking
Description:  The Field Stabilization Loop is started with the current configuration parameters, after having checked that all start conditions are satisfied. Optionally, a preliminary exposure can be requested to automatically measure the position of the guide star and move the XY Translation Stage to the measured position.
If the system is already in closed loop when a START is received, it continues with no error indication, but only a warning.

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: FSS Strap, TRS 

Priority: Major 

Performance: A couple of seconds 

Frequency: After each preset when guiding is enabled with field stabilization, or at any time manually during operation while tracking or for test purpose. 

Preconditions:  

<!OL>
· FS is Idle 

· FSS Strap is ONLINE 

· Coude Beam Switching device allows light path to FSS
(Interface: IfBeamSwitchingDevice.Encoder.ReadoutPosition ) 

· Guide star available 

· Guiding Reference point is set 

· M6 is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command to start Field Stabilization.
Variations: 

· Use STARTAG command to immediately start Field Stabilization 

· Use BOX2GS measure the error vectors and counter offset the XY Translation Stage of the same amount. 

Exception Course: Command failed 

· ATCS Checks Autoguiding Conditions at start for field stabilization
Exception Course: Command failed 

· ATCS Prepares FSS Setup with selected setup configuration in continuous closed loop and M6 correction 

· ATCS Starts FSS Acquisition in Closed Loop sending command STRTCLP
Exception Course: Command failed 

· ATCS launches a TRS timer with the given period for the Field Stabilization Loop
Exception Course: Command failed 

· ATCS waits for the loop to be stable (see Issue 1). 

· Optionally (BOX2GS) 

· retrieve the M6 offset from center position 

· counter offset the x-y table of the same amount. The M6 is kept in close loop and goes back automatically to center position. In this way the probe is centered on the guide star.

· ATCS returns OK reply 

<!/OL>
Exception Course: Command Failed 

<!OL>
· ATCS returns ERROR reply
Postcondition: FS is Idle 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case.

· FS is active 

· TRS timer is running 

· M6 is receiving tilt corrections from FSS Strap 

Issues to be Determined or Resolved:  

Issue 1: It must be defined how should we wait for the loop to be stable: should we wait for a fixed time, or better should we use some diagnostic? What? Suggestions please….
· If not chopping, we set a fixed time of  0.5 sec.
· If chopping, wait 8 cycles of the STRAP fast steering loop [time depend on integration times]. For this reason, high chopping frequencies will be very inefficient at low NGS flux rates/long integration times.
Notes: 

· Autoguiding and Field Stabilization are mutually exclusive, since only one detector is used for both. Warning, this could create problems. The Auto Guider sends the corrections to the Axis while alternatively FS sends corrections to M6 that in turn recenters itself on 30-60 second period by sending the corresponding corrections to the Axis.
It is the same scheme as for the UTs, having M6 playing the same role as M2 for the UTs (see M6 Control Loop). 

· START and STOP commands are used during nodding and during combined offsets, since I all these cases FS must be paused while the telescope and the XY table move to the new position. They have then to be restarted and we assume that probe positioning during these telescope movements is very good and no new guide star acquisition is necessary. 

· See AG/FS Analysis for UTs The algorithm for differential refraction handling (different wavelength of target and guide star) could be taken from the UT adapter/rotator implementation. 

· The AG/FS system currently in use on the UTs has not been properly analyzed (M.Ravensbergen never had the time to perform a complete and meaningfull analysis of the control loops involved).
The system produces very clear positive effects when it is active, but is for sure not optimized and could be improved a lot with a proper tuning based on an analysis.
Very good improvements on the unit telescopes could be obtained with adaptive integration time algorithms like the ones in STRAP. 

· The BOX2GS option can be used to correct for catalogue error, but probably the telescope pointing will not be accurate enough to ensure the tight pointing requirements (some 0.02-0.05 arcsec) needed for the interferometric instrument. It will be then necessary to use for VLTI reference stars whose coordinates are very well known (Hypparcos catalogue) and rely on these coordinates rather than on the telescope pointing. More over, the object itself will be used as much as possible to Field Stabilize and in that case the probe position shall not be adjusted.

<!-- hhmts start -->Last modified: Fri Apr 9 08:56:17 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.7 Use Case:  Stop Sensor Tracking
DBO_Note: see previous note at 1.6

Description:  Stop Field Stabilization As soon as Field Stabilization is stopped, M6 goes directly to center position. The center position is defined as (0,0) plus the offset value set in the SETUP database branch. 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator/Maintenance 
Secondary: FSS, TRS 

Priority: Major 

Performance: A couple of seconds 

Frequency: Before a preset when field stabilization was active, or at any time manually or when FS conditions are not met. 

Preconditions:  

<!OL>
· FSS sub-system is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command STOPAG to stop the Field Stabilization
Exception Course: Command failed 

· ATCS Stop FSS Acquisition 
Exception Course: Command failed 

· ATCS cancels the TRS timer for the Field Stabilization Loop
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FS is idle 

Issues to be Determined or Resolved:  

Notes: The STOPAG command is used to stop both Auto Guiding and Field Stabilization, wich ever of the two is active when the command is active.
No action occurrs if none is active.
See Stop Autoguiding. The two Use Cases could/should be merged in a single one taking care os the different possibilities.
During Field Stabilization, the FAS is always active in fill screen mode, so it is not necessary to explicitely switch it on as a step of the Use Case.

<!-- hhmts start -->Last modified: Thu Apr 8 15:33:26 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.8 Collaboration Case:  Move Probe to Guide Star

DBO_note: Part of this routine will exist in the STRAP initialization SW. Check it out with description in section 2, STRAP functionality no.8
Description:  This collaboration case is responsible for moving the probes (CCD window and FSS Translation Stage) to the location of the selected guide star. 

Performance:  some milli-seconds 

Frequency:  Any time 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· GS coordinates are available 

<!/OL>
Basic Course:  

<!OL>
· Call Use Case with (alpha, delta) coordinates for the probe. 

· ATCS Set FSS Filter Wheel too select the neutral density filter according to the magnitude of the GS, using a lookup table based on magnitude provided by STRAP.
Exception Course: Command failed 

· ATCS Set FSS Aperture Field Diaphgram 
Exception Course: Command failed 

· ATCS Sets the Guide Reference Point 
Exception Course: Command failed 
Postcondition1: FAS Reference point is set 
Postcondition2: FSS Translation Stage in position and tracking 

· ATCS Prepares the FAS setup : 

· Infinite Loop 

· Full frame 

· Display 

· No computation 

· UIT set according to the magnitude of the GS (TBD) 

Exception Course: Command failed 

· ATCS Starts Field Acquisition 
Exception Course: Command failed 

· ATCS Set APD Gate to 100% 

· ATCS Start APD initialization procedure (Add Use CASE: this evaluates and set the APD temperatures and performs a set of initialization and optimization procedures based on the current image seen by the APD).  This functionality exists in STRAP, it needs to be only called.
· Optionally, start the STRAP NGS centering procedure. (Add Use Case: in this procedure the STRAP moves around the M6 following a snake trajectory to identify the actual position of the guide star. During this phase it is necessary to check for the gate level and the overcount flag. In case of overcount, a darker neutral must be selected and the procedure restarted. This type of error should anyway occur very seldom, since the tolerance of he system covers two magnitudes. As an alternative, the FSS Translation Stage could be moved in a snake instead of the M6. In this way the image would not move).

DBO_Note: The NGS centering procedure exist in STRAP. If instead of sending commands to M6, they have to be sent to the FSS translation stage, the Use case should intercept the positioning commands of the STRAP routine. Mauro Comin should see how to do this, if VMESTRAP Sw needs changes or if it is straightforward.

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply. 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· Probes are located on the GS. 

· FAS CCD displays field 

Issues to be Determined or Resolved:  

· In order to select the proper Neutral Density Filter, the magnitude of the guide star must be available. A lookup table based on magnitude will be provided by strap. ATCS must foresee the usage of this table for guide stars selected via a catalogue, i.e of known magnitude. For guide stars selected via the FAS, a formula or a lookup table to get the proper filter given FAS (exposure time, counts) must be foreseen.  
This will be already in the final STRAP SW

· It has to be defined how the FSS Field Diaphragm has to be set. 

The command is a command to the Mac4. The Field Diaphragm is set to the user requested size (BOB field is necessary). There is no automatic value, it depends on the NGS size and marginally from the seeing. 2 arcsec is a decent value for point-like NGS.
· A couple of Use cases (or Collaboration Cases) (see previous notes) will have to be added to handle APD initialization and guide star locking. However note that the procedures already will exist in the STRAP SW. These procedures must be available to the operator for manual operation of the field stabilisation, via the user interfaces, but will also be used by the automatic guide star acquisition procedures at presed. How and when they will be actually used automatically will have to be defined for final design taking into account that: 

· We have to be cautios not to move M6 (and as a consequence the image) while and instrument can be taking images. This limits the possibility of using the automatic APD centering procedure. 

DBO_note: the centering procedure should be done only when a new NGS is pointed, before closing the loop.  
· The positioning of the XY Translation Stage should be precise enough to make the usage of the locking procedure not necessary 

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 14:19:12 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.9 Collaboration Case:  Field Stabilization Control Loop

DBO_note: the update of the database with the new IM values, and the sending to VMESTRAP of the new matrix, should be handled by a slave process under the STRAP SW, called by ATCS FS SW. The process in the STRAP SW should allow the ATCS to set only a subset of the database parameters.
Description:  The Field Stabilization Loop is triggered by an offset threshold of the rotation angle between sensor and M6 axis,  and is responsible for updating the Interaction Matrix on the FSS Strap for field rotation compensation. 

Priority: Major 

Performance: TBD 

Frequency: Up to 10 Hz 

Preconditions:  

<!OL>
· ATCS is ONLINE Tracking and Guiding 

· FSS sub-system is ONLINE 

· FS is active 

· TRS timer is running 

<!/OL>
Basic Course:  

<!OL>
· TRS angle offset  trigger. This FS monitoring loop is synchronized with the STRAP diagnostic loop and NOT with the STRAP closed control loop, that has much higher freuency. 

· ATCS Checks Autoguiding Conditions (for field stabilization). Typically this check is not performed at every loop, but with a lower frequency.
Exception Course: Guiding conditions not met 

· ATCS Computes Interaction Matrices. 

· ATCS Updates Interaction Matrix on FSS Strap using the STRAP slave process
Exception Course: Command failed 

· ATCS Retrieve and Check Error Vector from FSS Strap
Exception Course: No error vector 

· Depending on the performance of the FSS Translation Table tracking, 
it might be necessary to interpolate the Guide Reference Point between two updates of the FSS Translation Table position (TBD): 
Subflow: Update Guide Reference Point 

<!/OL>
Exception Course:  No error vector 

<!OL>
· ATCS logs an error 

· ATCS checks for too many consecutive invalid error vectors 
(to allow for temporary failures, like in the case of a cloud passing by).
Exception Course: Too many errors 

<!/OL>
Exception Course:  Too many errors 

<!OL>
· ATCS Stops Field Stabilization
<!/OL>
Subflow: Update Guide Reference Point 

<!OL>
· ATCS interpolates/computes the actual Guide Reference Point for FSS Strap APD 

· ATCS Prepare FSS Setup with new Guide Reference Point 

· ATCS Sends FSS setup to FSS Strap
Exception Course: Command failed 

<!/OL>
Exception Course: Guiding conditions not met 

<!OL>
· ATCS logs an error 

· ATCS Stops Field Stabilization
<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS logs an error 

· ATCS Stops Field Stabilization
<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· Interaction Matrix is updated 

· FS is active 

Issues to be Determined or Resolved:

Action M.Comin, with support from G.Chiozzi:
DBO_Note:  no use of the real time is necessary to update the interaction matrix.

The synchronization procedure with the STRAP diagnostic loop must be analyzed in detail. It is important:

· 
· 


· 
· 
Note 1: Depending on the performance of the FSS Translation Table tracking, 
it might be necessary to interpolate the Guide Reference Point between two updates of the FSS Translation Table position. See FSS Translation Stage Control Loop for details.. 

Note 2: For next iteration, add the UC that catch the FSS Translation Table alarm indicating the vicinity of the limit (end of possible tracking).
This UC shall include the following steps: 

Basic Course: 

<!OL>
· ATCS Stops Field Stabilization
Exception Course: Command failed 

· ATCS sends Probe to Next Guide Star
Exception Course: Command failed 

· ATCS re-Starts Field Stabilization
Exception Course: Command failed 

<!/OL>
<!-- hhmts start -->Last modified: Thu Apr 8 14:42:00 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.10 Use Case: Display Guide Detector Signals

DBO_Note:
this is done in current STRAP SW, the database values can be made available with the hook function. Check with Mauro for the way the display is done currently. We would like to implement running plots of user-selectable parameters.
Description:  The image of the Field Acquisition Sensor or of the Field Stabilization Sensor is read with the requested frequency and displayed. In the case of the Field Stabilization Sensor, no real image is available, but a proper representation (TBD) of the measured error vectors, guide star intensity and other statistical parameters related to the operation of the APD sensor will provide the same level of logical information. If autoguiding/field stabilization is not active, it is possible to switch ON/OFF the display dynamically. If autoguiding is active, this is not possible. In this case, the display shall be switched ON/OFF setting the proper SETUP keyword when starting Autoguiding. The FAS is normally always active and with the display switched on since all Autoguiding and Field Stabilization commands take care of properly switching ON the display of the Guide Detector Field. The display of the FSS image can be switched ON/OFF independently from the FAS, but with the same limitations.

Use Case Type: Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: FAS, FSS Strap 

Priority: Desirable 

Performance: a few seconds 

Frequency: Whenever requested 

Preconditions:  

· AG & FS are IDLE 

· FAS sub-system is ONLINE 

· FSS Strap is ONLINE 

· Coude Beam Switching device allows light path to FAS and/or FSS Strap (Interface: IfBeamSwitchingDevice.Encoder.ReadoutPosition) 

Basic Course: Switch ON/OFF display while idle 

· Send command to switch ON display with setup configuration for FAS or FSS
Exception Course: Command failed 

· ATCS Prepares FAS Setup with selected setup configuration in continuous loop and full frame mode
Alternate Course: ATCS Prepares FSS Setup with selected setup configuration in continuous loop and no M6 correction
Exception Course: Command failed 

· ATCS Starts Field Acquisition
Postcondition: FAS active : full frame + display
Alternate Course: ATCS Starts FSS Acquisition
Postcondition: FSS Strap is collecting data
Exception Course: Command failed 

· ATCS returns OK reply 

Exception Course: Command failed 

· ATCS returns ERROR reply 

Postconditions: These are postconditions that validate the goal of the use case. 

· FAS active full frame 

· FSS Strap active 

· FAS images and/or FFS Strap data are visualized 

Issues to be Determined or Resolved:  
Notes: 
The current implementation of the TCCD SW does not allow to switch ON/OFF on the fly, during an infinite loop of exposures, the display of images. The switching of display is linked to the Start/Stop commands.

The STRAP SW will provide a panel editor class implementing this display and usable in ATCS graphical user interfaces. The panel class will be defined by STRAP SW people. 

<!-- hhmts start -->Last modified: Fri Apr 9 08:50:50 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.11 Use Case:  Set Guide Parameters

Description:  Configure setup parameters for the configuration of FAS, FSS STRAP, Autoguiding and Field Stabilization. The main parameters are: 

· integration time 

· guiding loop cycle time 

· minimum number of counts on detector, for default integration time 

DBO_Note:
It is not clear to me if you are speaking also of the fast steering loop of STRAP. We need to see which parameters of STRAP you want/need to be able to configure. Integration time and flux thresholds are set automatically. Please let’s clarify this.
It is not possible to change dynamically configuration parameters while Autoguiding, with the exception of the integration time and the guide reference point, that can be modified at any time by using the UC Set Integration Time for FAS and Set Guide Reference Point. 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator,Maintenance 

Priority: Critical 

Performance: 1 second 

Frequency: Whenever requested 

Preconditions:  

<!OL>
· AG/FS are IDLE 

<!/OL>
Basic Course:  

<!OL>
· Send command to set Autoguiding setup parameters
Exception Course: Command failed 

· ATCS stores new parameters in setup configuration for AG/FS 

· ATCS Prepare FAS Setup
Alternate Course: ATCS Prepare FSS Setup
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course:  Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· New setup parameters stored in setup configuration to be used for next StartAg/StartFs 

Issues to be Determined or Resolved:  

Notes: 

<!-- hhmts start -->Last modified: Fri Apr 9 08:06:56 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.12 Use Case: Set Guide Reference Point

DBO_Note: this is not possible in STRAP. The range is limited as said before. It can be introduced, but it needs to modify the VMESTRAP SW, and to add two terms to the database. Let’s clarify the requirements more in detail.
Description:  With this function the user can define the sky coordinates in (alpha,delta) of the reference point on the Field Acquisition Sensor used for Autoguiding. The reference point is mapped on the pixel on the CCD to be used as a reference for error vector calculations.
The same coordinates are used to position the FSS Translation table for Field Stabilization. 
This reference point shall be updated automatically during observation to take into account changes in the differential atmospheric refraction 
between the observing and the guiding wavelength. 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: FAS, FSS Strap 

Priority: Major 

Performance:  1 second 

Frequency: At any time 

Preconditions:  

· FAS is ONLINE 

· FSS Strap is ONLINE 

Basic Course:  

· Send new sky coordinates in (alpha, delta) for Guide Reference Point
Exception course: Command failed 

· ATCS stores and converts the Guide Reference Point coordinates to FAS / FSS coordinates 

· ATCS Prepare FAS Setup with updated Guide Reference Point coordinates for the FAS
Exception Course: Command failed 

· ATCS Sends FAS Setup with updated values
Exception Course: Command failed 

· ATCS Prepare FSS Setup with updated Guide Reference Point coordinates for the FSS
Exception Course: Command failed 

· ATCS Sends FSS Setup with updated values
Exception Course: Command failed 

· ATCS Preset FSS Translation Stage to new sky position
Exception Course: Command failed 

· ATCS returns OK reply 

Exception Course: Command failed 

· ATCS returns ERROR reply 

Postconditions:  

· New guide reference point coordinates are available for Autoguiding or Field Stabilization. 

Issues to be Determined or Resolved:  

Notes: In the case of the Field Stabilization, the FSS Translation Table will be placed at the field position corresponding to the specified pixel in the Field Acquisition sensor. In this way, both FAS and FSS have the same object coordinates.

Notice that the FFS APD itself has a "reference point", but with a completely different meaning: in order to allow guiding for a while without moving the FFS Translation Table, it is possible to specify an offset between the center of the APD and the position of the guide star. The system will then do field stabilization keeping this offset, instead of centering the guide star on the ADP.

<!-- hhmts start -->Last modified: Thu Apr 8 14:30:48 METDST 1999 <!-- hhmts end -->
Chopping

<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.13 Use Case:  Start Chopping

Description:  Starts Chopping with mirror M6 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: VLTICS-ISS, Maintenance 
Secondary: TRS 

Priority:  Major 

Performance:  1 second 

Frequency:  At any time 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· Chopping configuration parameters are valid and available 

<!/OL>
Basic Course:  

<!OL>
· Send command to start chopping
Exception course: Command failed 

· ATCS loads the chopping parameters

· ATCS launches a TRS timer with the given period for the Chopping loop
Exception Course: Command failed 

· ATCS configures Guiding (if applicable) to support guiding while chopping
Exception course: Command failed 

· ATCS sets Chopping Phase to ON 

· ATCS returns OK reply and UTC of next ON phase 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· Chopping active 

· Guiding (if applicable) takes chopping into account 

Issues to be Determined or Resolved:  How are instruments informed that chopping has started and how do they synchronize. 
· The TIM board could be used by instruments to know when the chopping command has been given [see NAOS-Conica]
· When opening the STRAP loop, the settling time of M6 drives the delay

· When closing the STRAP Loop, we have to wait 8 integration times.
Notes:... 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:54 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.14 Use Case:  Stop Chopping

Description:  Stops chopping on mirror M6 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: VLTICS-ISS, Maintenance 
Secondary: TRS 

Priority:  Major 

Performance:  1 second 

Frequency:  At any time 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· Chopping is active 

<!/OL>
Basic Course:  

<!OL>
· Send command to stop chopping
Exception course: Command failed 

· STRAP waits Chopping phase is ON
· STRAP acknowledges status of no-chopping 

· ATCS cancels the TRS timer associated to the Chopping Loop
Postcondition: Chopping Loop is Idle in ON phase
Exception course: Command failed 

· ATCS return OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· Chopping inactive 

Issues to be Determined or Resolved:  

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:54 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.15 Use Case:  Configure Chopping

DBO_Note: if we implement the chopping command on STRAP as a single line command with all the parameters, then ATCS needs to talk to STRAP via this command

Description:  Configure chopping parameters (like throw, offset, orientation, frequency, peak-valley-ratio). 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 

Priority:  Major 

Performance:  Some seconds 

Frequency:  At every change of chopping parameters 

Preconditions: 

<!OL>
· ATCS is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command to configure chopping parameters
Exception course: Command failed 

· ATCS checks and stores chopping parameters for next start of chopping
Exception course: Invalid configuration parameters 

· ATCS returns OK reply 

<!/OL>
Exception Course: Invalid configuration parameters 

<!OL>
· ATCS returns ERROR reply
Postcondition: Chopping configuration is not updated 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· Chopping configuration parameters are checked and stored 

Issues to be Determined or Resolved:  

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:55 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.16 Collaboration Case:  Chopping Control Loop

Description:  The chopping control loop is triggered by a timer [TIM?] and is responsible for coordinating the chopping cycles. 
A chopping cycle consists in 2 phases ON and OFF during which M6 is: 

· ON : aligned on the GS (star phase) and 

· OFF: off the star (sky phase). 

The switch takes a couple of milli-seconds. 
When FS is active, no correction shall occur in OFF phase. 
DBO_Note: some IR users like to chop between ON and different OFF positions to better subtract the sky.. Are we sure this is not the case here?

Performance: 
Frequency: Up to 5 Hz.
Chopping requirements have to be carefully analysed and the requirements for the STAP closed loop imposes limits on the chopping frequency: 

· Currently the goal is to reach 5Hz chopping frequency by using just the ATs. 

· Typically: 

· 8 STRAP loop cycles are necessary to close the loop 

· with a 17th mag star on ATs, 12 ms integration time are necessary 

· Typically then about 100 msec are necessary to close the loop 

· Remain then only 100 Ms per cycle for science purposes
· Therefore to keep efficiency, the max chopping frequency allowed  is limited by the integration time necessary
Preconditions:  

<!OL>
· ATCS is ONLINE 

· M6 is ONLINE 

· FSS Strap is ONLINE 

· TRS timer is running 

· Chopping configuration parameters are valid and available 

<!/OL>
Basic Course:  

<!OL>
· TRS timer trigger

· ATCS Computes Interaction Matrix 
Exception Course: Command failed

· ATCS performs chopping step depending on the chopping phase
Subflow: Chop phase ON
Exception Course: Command failed 
Subflow: Chop phase OFF
Exception Course: Command failed 

<!/OL>
Subflow:  Chop phase ON (star position)

<!OL>
· ATCS converts the chopping parameters to M6 tilt angles for the star position 

· ATCS Set M6 Tilt Angles back to star position
Exception Course: Command failed

· ATCS enables FS corrections on FSS Strap in setting the APD gain to the appropriate value. 

· ATCS Prepare FSS Setup with proper FSS Strap gain
Exception Course: Command failed

· ATCS Sends FSS Setup
Exception Course: Command failed

· ATCS sets Chopping Phase to ON 

<!/OL>
Subflow:  Chop phase OFF (sky position) 

<!OL>
· ATCS converts the chopping parameters to M6 tilt angles for the sky position 

· ATCS inhibits FS corrections on FSS Strap in setting the APD gain to ZERO. 

· ATCS Prepares FSS Setup with FSS Strap gain = 0
Exception Course: Command failed

· ATCS Sens FSS Setup
Exception Course: Command failed

· ATCS Set M6 Tilt Angles to sky position
Exception Course: Command failed

· ATCS sets Chopping Phase to OFF 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS Stops Field Stabilization 

· ATCS logs the error
Postcondition: Chopping is stopped 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· M6 Chopping cycles are performed 

Issues to be Determined or Resolved: 
ACTION MCO JFA: 

· Verify the exact sequence of actions to be performed when switching from object to sky and from sky to object 
DBO_Note:
 Chopping Control Loop description, section 2.2
Chopping with STRAP current SW is possible if the following actions are taken, summarized in a single command line:

OFF:


· set desired M6 offset in the VMESTRAP, in arcsec from M6 nominal 0,0 position

· close the gate of the APDs

· Open the STRAP loop

· Wait for M6 mirror to settle before allowing science camera to take data

ON:

· Set previous M6 offset value in VMESTRAP

· Wait for M6 to move and settle

· Open the gate of APDs

· Close the loop if there is flux

The two sequences could be built as one command with parameters for the VMESTRAP SW, directly accessible from the LCU. This would ensure a good timing. The toggling ON/OFF would then be the command needed. 

The VME bus should ensure sufficiently small time jitter for chopping, considering the M6 settling time in the order of milliseconds. If tests will show that this is not the case, the digital gating TTL signal could be enabled to toggle the ON/OFF actions. 

· 
· 
· 
· 
· 
· 
· 
· 

It is needed to:

· Measure the time needed to receive and handle the order to change between object and sky, including the mirror settling time. It must be possible to settle a stable chopping loop, with a defined jittering and with sinchronized opening and closing of the loop. Instruments using chopping will not receive any control signal when the mirror chops, but will trust the absolute times calculated using the chopping parameters and measured using the time bus. 

· 
· 
· 

Ideally when switching from object to sky, we should just set the chopping offset and the mirror should go: 

where it is now + chopping offset 

i.e. it should take into account the eventual mirror drift (typically due to tracking errors or to long wind buffets) accumulated up to that time, instead of jumping simply to the chopping offset position. This would degrade the repeatibility of the positioning after switching from sky to obj or from obj to sky. 
To do so, before chopping the M6 running mean command signal must be stored in VMESTRAP. The diagnostic buffer must be built accumulating data in the ON position, and refreshing the database at the appropriate number of ON cycles. This requirement is to be added in the specification of the VMESTRAP SW modification.

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:53 METDST 1999 <!-- hhmts end -->
Field Stabilization / APD Sensor

<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.17 Use Case:  Start FSS Acquisition

DBO_Note: this case is not clear, it seems to duplicate existing STRAP SW

Description:  Start the APD measurements 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: FSS Strap 

Preconditions:  

<!OL>
· FSS Strap is ONLINE 

· FSS setup is available for the requested APD configuration 

<!/OL>
Basic Course:  

<!OL>
· Send command STARTOLP | STARTCLP to start the FSS Strap System 

· ATCS Sends FSS setup configuration to FSS Strap
Exception Course: Command failed 

· ATCS Sets APD Gate to 100%
Exception Course: Command failed 

· ATCS starts APD measurements 

<!OL>
· Subflow: in Open Loop 

· Subflow: in Close Loop 

(Interface: IfFss.Control.Start )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Subflow:  in Open Loop 

<!OL>
· ATCS starts APD Cycles with Open APD Loop
Postcondition:FSS Strap cycles performed in Open Loop (No M6 correction) 

<!/OL>
Subflow:  in Close Loop 

<!OL>
· ATCS starts APD Cycles with Close APD Loop
Postcondition:FSS Strap cycles performed in Close Loop (with M6 corrections) 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply
Postcondition: FSS Strap is idle 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS Strap active in Open or Close Loop 

· FSS Strap data available 

Issues - Resolved:  

· the actual sequence to be used at FSS Acquisition STOP time is: 

· 
· 

· Open the loop 

· Set the gate to 0 

· M6 actually goes to the defined center position, using properly the defined offset from (0,0) 

· if the offset position is applied during closed loop, when the loop will be opened M6 goes to the offsets defined in the database and transmitted to VMESTRAP: 

· 
· 

When the gate is set to 0 and the loop is closed, M6 drifts a while. If we want it to go to the offset position, we need to ask a chage in the VMESTRAP SW. When the loop is open, M6 does not move whichever value the gate is set to.
· 
· 
· -
· 
·  

Notes: 

<!-- hhmts start -->Last modified: Fri Apr 9 09:31:10 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.18 Use Case:  Stop FSS Acquisition

DBO_Note: 
check commonality with STRAP SW

Description:  Stop the APD measurements setting the APD gate to 0 and opening the APD loop.
As soon as the loop is open M6 goes automatically to center position. The center position is defined as (0,0) plus the offset value set in the SETUP database branch. 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator/Maintenance 
Secondary: FSS Strap 

Preconditions:  

<!OL>
· FSS Strap is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command STOP to stop the FSS Strap System
Exception Course: Command failed 
· STRAP Opens APD Loop
Exception Course: Command failed

· STRAP Sets APD Gate to 0%
Exception Course: Command failed 

· 
· ATCS sends command to stop FSS Strap System
(Interface: IfFss.Control.Stop )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS Strap is idle 

Issues to be Determined or Resolved:  

· 
· 
· 

· 
· 
· 
· 
· 
· 

· 
· 
· 
· 
· 
Notes: 

<!-- hhmts start -->Last modified: Fri Apr 9 09:36:55 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.19 Use Case:  Prepare FSS Setup

Description:  Prepare the configuration setup for FSS 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 

Priority: Critical 

Performance: 1 second 

Frequency: At any time 

Preconditions:  

<!OL>
· ATCS is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command to prepare the FSS setup 

· ATCS parses and checks the FSS setup
Exception Course: Check failed

· ATCS stores the FSS setup
Exception Course: Command failed
Postcondition: FSS setup is available

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Exception Course: Check failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS setup is available 

Issues to be Determined or Resolved:  List of setup parameters for APD 
The set-up parameters are:

Interaction Matrix to be used

Expected no. of counts or flux from NGS [BOB] 

Closed Loop centroid offsets [not possible for now]
NGS size, for field diaphragm and loop gain settings

Sky background parameter from TCS

Set Data Buffer Length for outer loops cycles

DBO_Note: we need to match this set-up with the automatic flux and loop control optimization routines.
Notes: 

<!-- hhmts start -->Last modified: Fri Apr 9 09:57:31 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.20 Use Case:  Send FSS Setup

Description:  Send the configuration setup to the FSS Strap 

Use Case Type:  Abstract 

Role(s)/Actor(s):  
Secondary: FSS Strap 

Priority: Critical 

Performance: 1 second 

Frequency: At any time 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· FSS setup is available 

<!/OL>
Basic Course:  

<!OL>
· Send command to send the setup to the FSS 

· ATCS sends the setup to FSS Strap
(Interface: IfFss.Configuration )
Exception Course: Command failed
Postcondition: FSS setup is available for next FSS activation

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS setup is available for next FSS activation 

Issues to be Determined or Resolved:  

Notes: The procedure to SETUP a STRAP configuration consists now in: 

· Writing the new SETUP parameters in the corresponding database attributes in the STRAP LCU branchdedicated to this purpose 

· Send "read new setup". Action MCO: please provide details and complete list of parameters.  
DBO_note:
we will pass the STRAP SW manual

We have to keep in mind the following considerations: 

· Most parameters are immediately applied, also in closed loop, as soon as SETUP is processed. 

· Some parameters are not applied in closed loop 

· The user (ATCS) has to write directly in the database branch to set the values: 

· This is not nice and one or more commands would be preferred 

· PDU has some concerns about performances, since every SETUP processes all parameters 

· To protect the database, the attributes that can be set could be "made public" providing an include file with defines for the database symbolic (or alias) addresses. All other attributes are not public and they do not appear in any public include file. This is done for the CCD SW. 

<!-- hhmts start -->Last modified: Fri Apr 9 09:59:18 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.21 Use Case:  Set FSS Aperture Field Diaphragm

DBO_Note:
we could make this procedure automatic but it needs experimenting. The diaphragm is normally full open. If the NGS flux is weak, we could run an automatic procedure after pointing NGS and closing the STRAP loop. The procedure requires time, and it does:

· move the diaphragm size to 4 times the object + seeing-disk angular size

· progressively reduces the diaphragm size monitoring the residual jitter for improvement
· stop reducing and back-off, as soon as there is no further improvement
Description:  Set the Field Stabilization Aperture Field Diaphragm to the requested aperture diameter.
This action is invoked during normal operation to minimize the sky background effects on the servo-loop.. 

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: FSS 

Priority: Major 

Performance: TBD 

Frequency: At any time 

Preconditions: 

<!OL>
· FSS is ONLINE 

<!/OL>Basic Course: 

<!OL>
· Send command SETAFD <diameter> to set the FSS Aperture Field Diaphragm to given diameter
Exception Course: Command failed

· ATCS sends command to FSS sub-system
(Interface: IfFssFieldDiaphragm.Motor )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply
Postcondition: FSS Aperture Field Diaphragm not moved 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case. 

· FSS Aperture Field Diaphragm at given diameter 

Issues to be Determined or Resolved: FSS Aperture Field Diaphragm diameter range 
For the ATs, the diaphragm diameter SW limits should be set ranges from 0.5 arcsec to 10 arcsec. In terms of stepper motor encoder positions, we have to calibrate it looking at the limit switches during each head assembly.  A Table of correspondence between size and stepper motor encoder values needs to be generated. 
Notes: 

<!-- hhmts start -->Last modified: Fri Apr 9 12:57:52 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.22 Collaboration Case: Open APD Loop

DBO_Note:
Exists already in STRAP SW

Description: Open the APD loop. The APD sensor continues to acquire photons and compute the diagnostics but no correction is sent to M6. 

Performance: some milli-seconds 

Frequency: At any time 

Preconditions: 

· FSS Strap is ONLINE 

Basic Course: 

<!OL>
· ATCS sends command to open the APD loop
Exception Course: command failed 

<!/OL>
Exception Course: 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case. 

The APD loop is open. No correction is sent to M6. 

Issues to be Determined or Resolved: 

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 11:56:28 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.23 Collaboration Case: Close APD Loop

DBO_Note:
Exists already in STRAP SW

Description: Close the APD loop. The APD sensor acquires photons, compute the diagnostics and sends correction to M6. 

Performance: some milli-seconds 

Frequency: At any time 

Preconditions: 

· FSS Strap is ONLINE 

· High voltage is ON. 

· APD gate is not 0. 

Basic Course: 

<!OL>
· ATCS sends command to close the APD loop
Exception Course: command failed 

<!/OL>
Exception Course: 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case. 

The APD loop is closed. Corrections are sent to M6. 

Issues to be Determined or Resolved: 

Notes: Typically 5 to 8 exposures are needed for the loop to converge. 

<!-- hhmts start -->Last modified: Thu Apr 8 11:56:28 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.24 Collaboration Case: Set APD Gate

DBO_Note:
Exists already in STRAP SW

Description: Set the APD gate to the required value (0 to 100%). This gate controls the APD sensor and shall be set to zero whenever the APD is not used in order to protect it. 

Performance: some milli-seconds 

Frequency: At any time 

Preconditions: 

· FSS Strap is ONLINE 

Basic Course: 

<!OL>
· ATCS sets the APD gate to the required value
(typically 0 or 100%)
Exception Course: set failed 

<!/OL>
Exception Course: 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case. 

The APD gate is set to the requested value. 

Issues to be Determined or Resolved: 

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 11:56:27 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.25 Collaboration Case:  Update Interaction Matrix

DBO_Note:
Exists already in STRAP SW
Description:  Update the Interaction Matrix for the coordinate conversion between APD and M6. 

Priority: Major 

Performance: TBD 

Frequency: TBD 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· FSS Strap sub-system is ONLINE 

<!/OL>
Basic Course:  

<!OL>
· Send command to update the IM on the FSS Strap sub-system
Exception Course: Command failed 

· ATCS updates the IM on the FSS Strap sub-system
(Interface:  IfFss.Configuration.InteractionMatrix )
Exception Course: Command failed 

· ATCS returns OK 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS Strap Interaction Matrix updated 

Issues to be Determined or Resolved:  

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:55 METDST 1999 <!-- hhmts end -->
FSS Translation Stage

<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.26 Use Case:  Set FSS Translation Stage

Description:  Set the FSS Translation Stage position.
This action is used by the FSS Translation Stage Control Loop that updates periodically the XY position of the translation stage so as to keep on tracking the center of the APD device on the computed trajectory of the guide object (on-axis object itself or off-axis guide star).

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Maintenance 
Secondary: FSS Translation Stage 

Priority: Major 

Performance:  

According to IFSBA description of the FSS support (VLT-TRE-IFS-151100-032) and for a telescope plate scale of 318 um/arcsec:

· Positioning resolution: 1um, i.e. 0.0031 arcsec. 

· Positioning accuracy: 

· 3um rms over 1 mm displacement, i.e.
0.0094 arcsec over 3.14 arcsec displacement 

· 30um rms over 40 mm displacement, i.e.
0.094 arcsec over 125.8 arcsec displacement 

· Maximum translation speed: 1.6mm/s in X and Y, i.e 0.005arcsec/s 

Frequency: Pseudo periodically, up to 1 Hz 

Preconditions: 

<!OL>
· FSS sub-system is ONLINE 

<!/OL>Basic Course: 

<!OL>
· Send command SETXYT <X,Y> to move FSS translation stage to (X,Y) position
Exception Course: Command failed 

· ATCS sends command to FSS translation stage
(Interface: IfFssTranslationStage )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply
Postcondition: No motion 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case. 

· FSS XY translation stage at given position 

Issues to be Determined or Resolved: 

· Update period: TBD 

· Type of positioning : absolute or relative? 

· Position units: sky coordinates in arcsec, or XY coordinates in milli/micrometers? 

Notes: We consider a telescope plate scale of 318 um/arcsec. Close to the zenith, the max. field rotation is approximatively 1500"/s thus the linear velocity at the edge of the translation stage (20mm from center) is then up to approx. 0.15mm/s (0.00047 arcsec/s).
The APD device allows linear measurement within a radius of up to 4mm (0.126 arcsec) around the center position.
This means at least about 30s before the off-axis star moves out of the APD measurement domain.
The error vector E is computed as the distance between the actual position of the star S and the center C of the APD device plus the difference between the actual Tanslation Stage center position with its computed trajectory R. Thus: E = vector(CS) + vector(RC)
The appropriate ratio between Translation Table position update rate and accuracy of the error vector must be determined considering the bandwidth of the Translation Table drives and the FS frequency. 
Example: for a guide star located 10mm off the optical axis on the APD plane, the maximum field rotation speed is 0.07mm/s. If then the max. distance to the APD center is set to 1mm (0.0031 arcsec), the update rate of the Translation Table position is once every 10 to 15 seconds.
For on-axis guiding, solely the differential refraction must be considered. The Translation Table position may then not need to get updated since all the compensations may be handled by computation. 

<!-- hhmts start -->Last modified: Fri Apr 9 12:59:03 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.27 Collaboration Case:  FSS Translation Stage Control Loop

Description:  The FSS XY-Translation Stage control loop is responsible for the tracking of the FSS Translation Stage on a Guide Star. It is triggered by a timer positions the XY-table so that the center of the APD sensor is kept on the trajectory of the object in the Coudé focal plane. At every iteration, the reference position of the FSS XY Translation Stage in (alpha, delta) sky coordinates is converted in (X,Y) coordinates taking into account the current telescope position, the pointing model and differential refraction effects due to the difference in wavelength between the object and the guide star.

Priority: Critical 

Performance: TBD 

Frequency: TBD 

Preconditions:  

<!OL>
· ATCS is ONLINE 

· FSS Translation Stage is ONLINE 

· TRS timer is running 

<!/OL>
Basic Course:  

<!OL>
· TRS timer trigger 

· ATCS computes new (X,Y) table center position from reference (alpha,delta) and UTC
Exception Course: FSS Translation Stage in limit vicinity 

· ATCS Set FSS Translation Stage (X,Y) coordinates. 
Exception Course: FSS Translation Stage on limit
Exception Course: Command failed 

<!/OL>
Exception Course: FSS Translation Stage in limit vicinity 

<!OL>
· ATCS raises an Alarm (see Note2 in FS Control Loop) 

<!/OL>
Exception Course: FSS Translation Stage on limit 

<!OL>
· ATCS cancels the associated TRS timer 

· ATCS logs an error and terminates 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS cancels the TRS timer 

· ATCS logs an error and terminates 

<!/OL>
Postconditions:  These are postconditions that validate the goal of the use case. 

· FSS Translation Stage position updated 

Issues to be Determined or Resolved:  

The sky (alpha, delta) reference position for the guide star is set by using the Preset FSS Translation Stage Use Case. This position is retrieved at every iteration and converted in (X,Y) table coordinates. Behavior in case of not valid coordinates, i.e. of coordinates outside the area reachable by the FSS Translation Stage is still to be defined.

Notes: 

The Translation Stage is a tracking axis and its behavior is very similar to the adapter/rotator of the Unit Telescopes: the difference between the sky positions of the telescope (i.e. of the observed object) and of the guide star are used to calculate the (x,y) position of the table with respect to the center of the field. 

The XY table positioning accuracy and positioning speed should be good enough for all our guide star tracking needs (see Set FSS Translation Stage Use Case for details on requirements and expected performance).

If not, we have to exploit the possibility of applying an offset to the APD center position, so that we:

· Move the XY table in discrete steps 

· Between two positions we interpolate and use an offset in the APD.

This feature is not foreseen in the current STRAP and can be asked as a new feature in an already planned extension of the contract with the manufacturer of the system.

The problem is how to calculate the unbalancing in the APD reads to match a defined offset. These values depend strongly on the observing condition and will require some development. Also a calibration procedure will be necessary. All this cannot be foreseen for the current release of STRAP.

In the next iteration, the UC responsible of catching and handling the alarm FSS Translation Stage in limit vicinity shall be introduced. 

 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:55 METDST 1999 <!-- hhmts end -->
M6

<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.28 Use Case:  Center M6

Description:  This action sends the mirror M6 back to its center position. 

Use Case Type:  Concrete

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: M6 

Priority: Critical 

Performance: TBD 

Frequency: At every preset to a new target. 

Preconditions: 

<!OL>
· M6 is ONLINE 

<!/OL>Basic Course: 

<!OL>
· Send command to center M6
Exception Course: Command failed 

· ATCS sends center command to M6 sub-system
(Interface: IfM6.Centering.Center )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed

<!OL>
· ATCS returns ERROR reply 

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case.

· M6 at Center position 

Issues to be Determined or Resolved: None

Notes: None

<!-- hhmts start -->Last modified: Thu Apr 8 11:41:19 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.29 Use Case:  Set M6 Tilt Angles

Description:  Set M6 tilt angles

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: M6 

Priority: Critical 

Performance: TDB 

Frequency: Any time during maintenance operation 

Preconditions: 

<!OL>
· M6 is ONLINE 

· FS is inactive 

<!/OL>Basic Course: 

<!OL>
· Send command to tilt M6 
Exception Course: Command failed 

· ATCS sends tilt angles to M6
(Interface: IfM6.Tilting.SetAbs IfM6.Tilting.SetRel )
Exception Course: Tilt angles too big
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course:Tilt angles too big 

<!OL>
· The tilt angles are too big and would send M6 to limit
Ignore correction
ATCS returns ERROR reply


<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case.

· M6 Tilt axis are set to the new angles 

Issues to be Determined or Resolved: None

Notes:None

<!-- hhmts start -->Last modified: Thu Apr 8 11:41:19 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.30 Use Case:  Get M6 Tilt Angles

DBO_Warning: It depends on the HW of M6, if there is telemetry available. Ask M.Duchateau. 

Description:  Get M6 tilt angles. This case is used whenever required by FS or VLTICS-ISS/INS.

Use Case Type:  Concrete 

Role(s)/Actor(s):  
Primary: Operator, Maintenance 
Secondary: M6 

Priority: Critical 

Performance: TDB 

Frequency: At any time 

Preconditions: 

<!OL>
· M6 is ONLINE 

<!/OL>Basic Course: 

<!OL>
· Send command to retrieve M6 tilt angles (alpha,beta)
Exception Course: Command failed 

· ATCS sends the command to M6 sub-system
(Interface: IfM6.Tilting.GetAbs )
Exception Course: Command failed 

· ATCS returns OK reply 

<!/OL>
Exception Course: Command failed 

<!OL>
· ATCS returns ERROR reply

<!/OL>
Postconditions: These are postconditions that validate the goal of the use case.

· M6 tilt angles are returned 

Issues to be Determined or Resolved: None

Notes: None

<!-- hhmts start -->Last modified: Thu Apr 8 11:41:19 METDST 1999 <!-- hhmts end -->
<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">
1.31 Collaboration Case:  M6 Control Loop

Description:  The M6 Control Loop is triggered by a TRS timer and is responsible for sending regularly correction offsets to the main axes 
corresponding to the actual M6 tilt angles so as to re-center M6, thus avoiding the risk of reaching a limit. If chopping is active, it will take into account that re-centering while in the OFF (sky position) chopping phase, means to actually put M6 in the nominal chopping sky position with respect to the center. 

Priority:  Critical 

Performance: As fast as possible 

Frequency: 0.1 Hz 

Preconditions:  

· ATCS is ONLINE Tracking and Guiding 

· FSS is ONLINE 

· M6 is ONLINE 

· FS is active 

Basic Course:  

· TRS timer trigger 

· ATCS Get M6 Tilt Angles
Exception Course: Command failed 

· ATCS Computes (Inverse) Interaction Matrix 

· ATCS converts M6 Tilt Angles to (alpha,delta) offsets
Subflow: Chopping active and chop phase OFF (sky position) 

· ATCS performs an Autoguider Offset to correct telescope axes of (alpha,delta)
Exception Course: Command failed 

Subflow: Chopping active and chop phase OFF (sky position) 

· ATCS subtracts from the calculated (alpha,delta) offsets the component due to the fact that the M6 is currently in the OFF chopping position. The new calculated (alpha,delta) correspond to the nominal chopping position with respect to the M6 center position. 

· ATCS Set M6 Tilt Angles to the new values computed in the previous step
Exception Course: Command failed 

Exception Course: Command failed 

· ATCS Stops Field Stabilization 

· ATCS logs an error 

Postconditions: These are postconditions that validate the goal of the use case. 

· M6 is recentered 

· Offsets sent to main axes 

Issues to be Determined or Resolved: It must be analyzed again in detail how the feedback loop to compensate with the telescope the M6 drifts due to trakcing errors will be, in particular during chopping.
D.Bonacini notices that a 0.1Hz loop is more reasonable than the 1Hz loop currently used for the unit telescopes, since it is probably much too fast and atmosphere effects cannot be averaged out.

A big difference between this system and the UT FS loop based on M2 control is that: 

· On the UT we just read periodically the ABSOLUTE M2 position and we correct for that 

· Here we can use the average M6 position, calculated by strap, removing the high frequency motion due to atmosphere and leaving only the actual drift. 

This last approach seems much better and should be implemented also on the UTs. We will try to retrofit the system in and upgrade phase. 

It is anyway required that the calculation of the average, i.e. the dignostic loop, is synchronized with the chopping and with the M6 control loop. 

Notes: 

<!-- hhmts start -->Last modified: Thu Apr 8 15:06:54 METDST 1999 <!-- hhmts end -->
Preliminary ICD

1.32 Sensor LCU

1.32.1 LCU Configuration

· CPU board: Motorola MVME 2604 (PowerPC, 333MHz, 32MB/64MB) 

· TIM board: ESO 

· STRAP VME control board (APD) 

· Guide/Acquisition LAN: Ethernet 

· TCCD boards: LIB (INMOS BO16) + LAB 

· Digital I/O Interface: Acromag AVME 9481 

· 28V power supply (for TCCD) 

· Motion Controller: MACCON MAC4-INC 

· Servo Amplifier: ESO VME4SA-01 

This ICD specifies to use the couple ESO VME4SA servo amplifier and MACCON MAC4 motion controller (both supplied by ESO) for the implementation of the control. 
One set of boards is necessary on this LCU to host the control of the FSS Filter Wheel, FSS Field Diaphragm and the FSS Translation Stage X- & Y-axes. 

This LCU is responsible for:

· Field Acquisition System (FAS) 

· Field Stabilization System (FSS) 

· M6 (to be replaced by Deformable Mirror) 

· FSS Filter Wheel 

· FSS Field Diaphragm 

· FSS Translation Stage 

The field acquisition system, the field stabilization system and the M6 drives and the Field Diaphragm as shown on the Figure below belong to the ESO delivery. There is for that part only a mechanical interface existing (see 6.3).

Schematic:

[image: image1]
<!-- Standard footer -->

<!-- hhmts start -->Last modified: Tue Mar 30 07:37:12 METDST 1999 <!-- hhmts end -->

1.32.2 Field Stabilization System (FSS)
· Field Stabilization System (FSS)
Control of the Field Stabilization System components (detector, real time electronics, and communication link to M6). 

· The control is deployed on the Sensor LCU. 

· This sub-system belongs to the ESO delivery and is not part of the AMOS contract. 

Field Stabilization System interfaces:
The applicable documents for the FSS interface are [AD 03] and [AD 04]. 

PRIVATE
From:
To:
Layout:
Function:
Type:

 
 
 
CONFIGURATION:
 

LCU
ATS
STRAP Static Configuration
(Can not be modified while APD is active)
Static parameters: 

· Open/Close loop 

· APD Gain 

· Diagnostic sampling period 

· Number of cycles 

· Hook-function name 

· etc ... (TBD) 
SW Command 

LCU
ATS
STRAP Dynamic Configuration
(May be modified while APD is active)
Dynamic parameters: 

· Guide Reference Point 

· Interaction Matrix 

· Gate for APD gain control 

· etc ... (TBD) 
SW Command

 
 
 
CONTROL:
 

LCU
ATS
Start STRAP
start APD acquisition with current configuration
SW Command

LCU
ATS
Stop STRAP
stop APD acquisition
SW Command

LCU
ATS
Gate APD gain
turn gate on/off for APD gain control
(used in chopping mode when alternating between object and sky)
SW Command
or
Digital Output. Digital I/O board pin TBD

LCU
ATS
Update Interaction Matrix
update interaction matrix
(for derotating M6 corrections)
SW Command 

LCU
ATS
Request Interaction Matrix
retrieve actual interaction matrix
SW Command 

LCU
ATS
Update Reference Point
(see Note 1 below)
update the APD reference point
SW Command 

 
 
 
STATUS & DIAGNOSTICS:
 

ATS
LCU
STRAP Status
get STRAP status
SW Command
/
DB attribute

LCU
ATS
STRAP Diagnostics
request measurement diagnostics
Diagnostics parameters: 

· mean and variances of 

· ro, -, residual jitter, APD counts, flux, mirror commands 


SW Command
/
DB attribute

LCU
ATS
Error Vector
(see Note 2 below)
request the instantaneous Error Vector
SW Command

 
 
 
SYNCHRONIZATION:
 

LCU
LCU
Function Hook
(see Note 3 below)
hook a user-defined function synchronous to the APD control loop
API Function

 

Note 1: The guide reference point is theoretically the optical center of the APD sensor. Since the FSS Translation Stage is a tracking axis, its position will be updated while tracking. However, it might be necessary to interpolate its position between 2 updates. This is achieved by offsetting the APD reference point synchronously with the Translation Stage control loop. The offset shall be less than 1/2 the NGS size (i.e. approx. 0.2" on the sky) so as not to loose the object. The performance of STRAP with centroid offsets needs to be verified.
Note 2: In order to compensate for tracking drift, the absolute offset of M6 is queried by the M6 Control Loop and sent to the telescope Alt/Az axes. The relative slow correction speed of the main axes allows not to recenter M6 but let the FS loop closed and active, that will bring M6 back to the center. 
Note 3: The ATCS Requirements specify the need of synchronizing the acquisition system with the guiding loop. On the UTs, this is implemented between the TCCD system and the AG/FS loops by means of a user-defined function hook that is invoked at each exposure. The details of the function are application specific, the interface is TBD (shall try to match the existing one). The function shall have access to the actual parameters describing the data acquired during this cycle (error vector, SNR, FWHM etc...). 
 

<!-- Standard footer -->

<!-- hhmts start -->Last modified: Thu Mar 18 09:08:06 MET 1999 <!-- hhmts end -->

1.32.3 M6 drives
· M6 (to be replaced by Deformable Mirror)
Control of the High Frequency M6 tilt motions, required for field stabilization and chopping. For Adaptive Optics, the M6 will be replaced by a deformable mirror controlled by appropriate electronics. 

· The control is deployed on the Sensor LCU. 

· This sub-system belongs to the ESO delivery and is not part of the AMOS contract. 

Note: this device is controlled by the STRAP system. We need anyway the following command commands for centering and tilting M6. They will be defined in the interfaces with STRAP.

M6 drives interfaces:
PRIVATE
From:
To:
Layout:
Function:
Type:

 
 
 
CENTERING:
 

LCU
ATS
Center M6
Send command to center M6
SW Command

 
 
 
TILTING:
 

LCU
ATS
M6 absolute (alpha, beta) tilt angles setting
Sets absolute M6 tilt angles (alpha, beta) in radians (two separate commands, one per axis)
SW Command

LCU
ATS
M6 relative (alpha, beta) tilt angles setting
Set relative M6 tilt angles (alpha, beta) in radians 
(two separate commands, one per axis)
SW Command

ATS
LCU
M6 absolute (alpha, beta) tilt angles readout
Get absolute M6 tilt angles (alpha, beta) in radians 
(two separate commands, one per axis)
SW Command

<!-- Standard footer -->

<!-- hhmts start -->Last modified: Tue Mar 16 13:55:26 MET 1999 <!-- hhmts end -->

1.32.4 FSS Aperture Field Diaphragm
· FSS Aperture Field Diaphragm 
Control of the Aperture Field Diaphragm before the FSS detector. 
The set motor + tacho is connected to the ESO standard VME4SA Servo Amplifier and MAC4 Motion Controller. The tacho generator is mounted on the motor. The velocity loop is closed in the amplifier. There are two switches; one of them is used as a reference switch.

The motor control is a pure SW interface: the target reference position and Velocity are passed to the Motion Controller via the VME bus. The motor control software is provided by ESO.


· The control is deployed on the Sensor LCU. 

FSS Aperture Field Diaphragm interfaces:
PRIVATE
From:
To:
Layout:
Function:
Type:

 
 
 
MOTOR:
 

LCU
ATS
Motor power control
Motor power lines
VME4SA Servo Amplifier.
Power Output pins

 
 
 
TACHOGENERATOR:
 

ATS
LCU
FSS Field Diaphragm velocity control readout
Tacho generator signals
VME4SA Servo Amplifier.
Tacho Input pins

 
 
 
ENCODER:
 

ATS
LCU
FSS Field Diaphragm encoder position readout
Relative encoder position of FSS Filter Wheel axis in counts
MAC4-INC Motion Controller.
Encoder Input pins

 
 
 
SWITCHES:
 

ATS
LCU
Reference Switch
contact closed when reference switch is reached (hysteresis, backlash TBC)
MAC4-INC Motion Controller.
Reference Switch Input pin.

ATS
LCU
Switch #2
contact closed when switch is reached (hysteresis, backlash TBC)
TBC

<DIV ALIGN=right> </DIV> 

<!-- Standard footer -->

<!-- hhmts start -->Last modified: Tue Mar 16 09:34:09 MET 1999 <!-- hhmts end -->

<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 3.2//EN">




�EMBED SnapGraphics���


Figure � SEQ Figure \* ARABIC �1�: STRAP architecture and connections. The control of UT M2 (AT M6) via a dedicated LAN is optional. The VME  rack boards are indicated. One channel of a MAC4 motor controller board is used for the sensor field diaphragm.





Figure1: STRAP architecture and connections. The control of UT M2 via a dedicated LAN is optional. The VME  rack boards are indicated. One channel of a MAC4 motor controller board is used for the sensor field diaphragm.








_978873626

