## Slide 1
Feeding a Giant: MANIFEST at GMT
A fiber-based spectrographic survey enabler
/17
Feeding The Giants, Ischia, August 2011
Feasibility Study (June 2011)

## Slide 2
Sending/Reformatting to instruments slit (multi-object spectrometers GMACS, NIRMOS & G-CLEF)
MANy Instrument FibEr SysTem
/17
Picking many science targets in a wide field (> 500 objects in 20’ field)
INTERNAL FRAME
Feeding The Giants, Ischia, August 2011

## Slide 3
GMT versus TMT & E-ELT
/17
Feeding The Giants, Ischia, August 2011
GMT loses by up to 9: on D2 and D4 science
MANIFEST set to fully exploit GMT AΩ advantage (in particular for LSST follow-up)
GMT wins by 1.4 x to 3.0x on AΩI science

## Slide 4
Fiber Positioning Zoo
/17
Feeding The Giants, Ischia, August 2011
Pick & place gripper (AAT, VLT)
Flexing (FMOS) / moving (WFMOS) spines
Autonomous walking Starbugs (GMT-proposed)
Echidna

## Slide 5
/17
Feeding The Giants, Ischia, August 2011
Starbugs at work

## Slide 6
Fiber Approach Pros … with limitations
/17
‘unlimited’ Field of View  1-m+
Feeding The Giants, Ischia, August 2011
large probe number  1000+
‘easy’ object to slit reformatting
‘dense’ focal plane filling  ~ 10 mm pitch
perfect positioning (closed-loop metrology)
on-line reconfiguration ~ a few minutes

## Slide 7
Fiber Approach Cons … with mitigations
/17
Detector Real-Estate Waste
Feeding The Giants, Ischia, August 2011
Sky Background Removal
Transmission Losses

## Slide 8
Detector real-estate waste
/17
Feeding The Giants, Ischia, August 2011
AA spectra 2.4 px FWHM 4 px pitch
low-z quasar
M star
blank sky
60% filling factor with << 1% cross-talk
Optimal extraction (3 adjacent fibers)
Sharp & Birchall 2010, PASA 27, 91

## Slide 9
Similar objects (GC, Stars, Moon) require 25% sky fibers  ICA on sky fibers to reduce overhead (in progress)
extensive development using AAT/2dF/AA  survey data
 photon-noise limited up to T ~ 4 hr. (1.8% precision)
 done with PCA applied first to < 12.5% sky fibers
 N&S better for T > 150 hr. (better than 0.45% precision)
/17
N-0.32
Sky subtraction accuracy (AA e-line galaxies)
Feeding The Giants , Ischia, August 2011
Sky Background Removal
A crucial need for nearly all (fiber-based) spectrometers
Sharp & Parkinson 2010, MNRAS 408, 2495
Near-IR sky removal much harder; 1% precision ‘proven’  Optimum-EVE, using Davies coherent OH-band algorithm
Rodrigues et al. 2010, SPIEE 7735-244
Davies 2007, MNRAS 375, 1099
Or OH-suppression fibers

## Slide 10: Light Transmission Losses
Chart: Total Throughput for Each Fibre System (%)
/17
Feeding The Giants, Ischia, August 2011
A significant hit, quite hard to reduce
 partially offset by better efficiency at field edge
 partially offset by better ‘slit’ efficiency in seeing-limited case
considered in trade-off with much better survey efficiency

## Slide 11: Survey speed gains
/17
Feeding The Giants, Ischia, August 2011
Targets with surface density σ over sky area A observed at fixed S/N  survey speed ~ ε.[Ω/A].[M/σΩ] (ε=efficiency, Ω=FoV, M=multiplex)
Limiting cases...
  Field-limited if M>σΩ: speed ~ ε.Ω/A ~ ε.Ω
  Multiplex-limited if M<<σΩ: speed ~ ε.M/(A.σ) ~ ε.M
MANIFEST survey field: 20’ (GMACS) & 17.5’ (NIRMOS)
If MANIFEST is about throughput-neutral:
  GMACS: ~2× gain for both field-limited and multiplex-limited
  NIRMOS: ~4× for field-limited, ~2× gain for multiplex-limited
  G-CLEF: ~43× gain for multi-orders, ~4× gain for all orders

## Slide 12
MANIFEST Science Cases
/17
Feeding The Giants, Ischia, August 2011
Science Case | Probes Format
Period of peak stellar formation | 91 x 1” dia. Starbugs
Massive galaxy assembly / AGNs | 14 x 2.5” dia. Starbugs
Evolution of galaxy clustering | 1 x 8.2” dia. Starbugs
IGM Tomography | 436 x 1” dia. Starbugs
Dark Matter Distribution | 1 x 19” dia. IFU
Reionization & 1st lights | 436 X 1”; 1x 8.2”; 91 x 1”
Local galaxies Archaeology | 40 x 1” dia. Starbugs
Parking position
566 Starbugs

## Slide 13
/17
Feeding The Giants, Ischia, August 2011
Galaxy mass assembly & physical processes
Spatially resolved spectroscopy (SFR, metallicity & dynamics)
14 x 2” field IFU feeding NIRMOS (1-1.65μm, R ~ 5.103)  survey of 103 galaxies in ~ 25 nights
GDDS z~1.5 galaxies

## Slide 14
/17
Feeding The Giants, Ischia, August 2011
Gemini 10hr
GMT 10hr
Lyα forest
Simulated LBG spectrum (z=4) at R=104
Gemini 10hr
GMT 10hr
IGM Tomography using Lyman break galaxies
Reconstruct the IGM 3D small-scale structure by densely sampling the Lyα forest over large areas of sky
436 image-slicing IFU feeding GMACS (0.36-0.52μm, R ~ 104)  survey of 4000 LBG over 1 deg2 at S/N 10 in 10 nights

## Slide 15
/17
Feeding The Giants, Ischia, August 2011
Stellar formation history in Local Group galaxies
Accurate chemical abundances of RGB stars
43 simultaneous spectral chunks with G-CLEF (R ~ 3.104)  100 RGB in 20 LG galaxies at S/N 30 in 30 nights
HERMES window
NGC 6822

## Slide 16
/17
Feeding The Giants, Ischia, August 2011
Conclusions
HERMES window
MANIFEST allows GMT to benefit from the complementary strengths of both multi-slit and multi-fiber feeds
Fiber-fed multi-object spectroscopy is a versatile means of providing a diverse range of capabilities
GMT+MANIFEST will be a powerful tool for a wide variety of seeing-limited and GLAO surveys
Fiber-fed multi-object spectroscopy is a versatile means of providing a diverse range of spectroscopic capabilities

## Slide 17
/17
Feeding The Giants, Ischia, August 2011
  Matthew Colless (Principal Investigator)
  Guy Monnet (Project Scientist up)
  Julia Tims (Project Manager)
  Will Saunders (Instrument Scientist)
  Andrew Hopkins (Science Analysis)
  Michael Goodwin (Instrument Modeling)
  Jeroen Heijmans (Mechanical Analysis)
  Jurek Brzeski (Mechanical Design)
  Tony Farrell (Software Design)
  plus various other contributors.
With warm thanks to GMT, the Organizers, the Audience and the MANIFEST Team

## Slide 18
/17
Feeding The Giants, Ischia, August 2011