## Slide 1: The experience from VISIR and the design of an ELT mid-infrared instrument

## Slide 2: VLT Imager and Spectrometer for the InfraRed
Diffraction-limited (seeing < 0.8’’)
Multi-mode instrument :
Imaging: N(8-13 m) and Q(16-24 m)
18 filters (R=20 to 100)
pfov: 0.075’’ and 0.127’’
Spectroscopy: LR (R=300),
MR (3000) and
HR (15000-30000 in Q or N)
Commissionned in 2004 on Melipal

## Slide 3: VISIR in context
Spatial resolution and sensitivity:
Spitzer: ~10μJy
VISIR: ~1mJy
MIDI: ~Jy (Jaffe)
NGC 1068 Poncelet et al. 07
Notes: knots NE1/SW1 are probably ejected matter by central engine, confirmed by MIDI visibility (blue ellipse)
central orange point is the torus emission resolved by MIDI
The green circle is the "extended" emission detected in MIDI visibility. VISIR allows to show that the extended emission
comes in fact from a serie of knots

## Slide 4: SSCs in active galaxies
1"
Ne II 12.8 µm
NGC1365 Galliano et al.
M6
M4
Cluster parameters:
Age ~ 7 Myr
Luminosity ~ 5x109 L
Mass ~ 106 M
Unresolved by Spitzer
Notes: We strengthen here the ability of VISIR to obtain separate spectra of SSCs. SPITZER cannot

## Slide 5: High-resolution spectroscopy
Circumnuclear velocity: 13km/s resolved
Central black hole mass: < 5.5 x 109M
N7582
NeII
Wold et al. 2006

## Slide 6: Protoplanetary disk at 0.3’’
HD97048 Lagage et al., 06
Martin-Zaidi et al., 07
Isophotes -> flaring disk geometry
Warm H2 gas: ~ 0.01 – 1 MJ
within 35AU
Disk age ~3Myr

## Slide 7: Low-mass companions
Sterzik & Pantin, 08
VISIR viz. Spitzer:
Characterization of spectral types

## Slide 8: VISIR detector: reads + cooling
1Hz feature from ccc

## Slide 9: Present VISIR detectors
Cosmetics:
bad pixels
striping

## Slide 10: Large scale gradient ?
+0.01 %
+2.24 %
-0.44 %
-1.80 %
- Flat fielding or
- Nodding parameters: AO replay ?, …

## Slide 11: Chopping: background subtraction
Chopp. frequency < 1 Hz -> increase of noise
0.25Hz
Notes: Image left/down shows background inhomogeneities, coming from either too-low chopping frequency, either nodding with different optical parameters (field-stabilization)
Plot : look only at blue curve : shows the increase of noise as a function of spatial scale. Pure gaussian noise would produce a flat blue curve a level=0.0

## Slide 12: VISIR: Low res spectroscopy
Need: N-band in 1 exposure
Standard star
Notes: spectra in various settings have different : FWHM (as shown) but also difference flux levels (uncertainties on flux calibration due to : 1) different airmasses/weather 2) centering of source in the slit

## Slide 13: Future detectors: Acquarius
BLIP performance
Larger format 1k x 1k
Pixel gain stability ~10-5:
flat-fielding ability
nodding only ?
MIDI assembly design
Notes: spectra in various settings have different : FWHM (as shown) but also difference flux levels (uncertainties on flux calibration due to : 1) different airmasses/weather 2) centering of source in the slit

## Slide 14: Direct MIR imaging of sEarths at the ELT
1L , 1rJ
sensitivity limit in 1h

## Slide 15: MIR imaging of sEarths
1L , 1rJ

## Slide 16: MIR spectra of BD/Gplanets
BD models
Burrows et al. 97
Resolution (D=10pc)
JWST ≥ 35AU
MIDI ≥ 5AU

## Slide 17: Lessons learned
Detectors -> gain stability/FF
Seeing limited -> AO needed in MIR
Nodding stability -> active optics replay
ELT contrast challenge -> coronograph, phase mask
>> Instrument design <<
Multi mode viz. i) Imager (+ low res)
ii) “sCRIRES’’ (high res)
Notes: I would consider this as a kind of conclusion