## Slide 1: Drift Scan
Eric Pantin
Ralf Siebenmorgen

## Slide 2: Drift scan with VISIR
VLT is starring
Bright source drifts over detector
VISIR in burst mode (DIT=10ms)
Observational set-up:

## Slide 3: Drift scan with VISIR
Estimate background: take for each pixel median in time of cube
Subtract background image from each exposure (DIT)
Track source position using idl ‘find’ or expected source trajectory
Co-add images applying:
  shift&add or
  blindy (from expectred source trajectory)
Data reduction:

## Slide 4: Shift & add of drift scan

## Slide 5: Blind co-add of drift scan

## Slide 6: VISIR 2011 sensitivity + drift scan

## Slide 7: VISIR 2011 sensitivity + drift scan
In 2016 drift-scan :
1.4 mJy/10σ/1h

## Slide 8: No relation between source position and guide probe -> No blind drift scan @VLT
Blue: VISIR
Green: Guide probe

## Slide 9: METIS Imaging
How easy is it nodding 1000t every 30s ?
No 1:1 copy of VISIR nodd/chop
Need blind drift scans
Notes:   Imaging at L/M band: The imager shall include low/medium resolution (R ~ few hundred - thousand) slit spectroscopy as well as coronagraphy for high contrast imaging.
  Imaging at N/Q band: The N-band imager shall include low/medium resolution (R ~ few hundred - thousand) slit spectroscopy as well as coronagraphy for high contrast imaging.
  High resolution (R ~ 100,000) IFU spectroscopy at L/M band, including a mode with extended instantaneous wavelength coverage.
  GOAL: High resolution IFU spectroscopy at N band. Not in the baseline design.