	[image: image1.png]




ESO - EUROPEAN SOUTHERN OBSERVATORY


	EUROPEAN SOUTHERN OBSERVATORY
Organisation Européenne pour des Recherches Astronomiques dans l'Hémisphère Austral
Europäische Organisation für astronomische Forschung in der südlichen Hemisphäre


VERY LARGE TELESCOPE

My Cookbook
Doc. No.: VLT-TRE-ESO-15730- 

Issue 
Date: 
Prepared:
S.Leveque/



Name



Date



Signature


Approved:





Name



Date



Signature


Released:





Name



Date



Signature

CHANGE RECORD

	Issue
	Date
	Affected Paragraphs(s)
	Reason/Initiation/Remarks

	1
	
	All
	First issue


TABLE OF CONTENTS

41
Lab Configuration

2
Marcel
5
3
M16
5
4
Laboratory and ARAL TCCD
6
5
DL
8
6
DDL and DOPDC
10
7
FSU
11
8
PACMAN
13
9
RMNMON
14
10
IRIS
14
11
AT-STS
16
12
PRIMA recorder etc..
19
13
ISS
19
14
VCM curvatures for the At and DL
22
14.1
AT#4-J2 DL#4
22
14.2
AT#3-G2 DL#2
28
14.3
Summary Dl-VCM ROC for OPL=14m obtained after ACOM1
31
14.4
AT#3-A1-DL#??
32
15
Field orientation on the AT-TCCD
33
16
Unix pour les nuls and useful commands
33


1 Lab Configuration

[image: image2]
Figure 1:  Beam routing.
2 Marcel

Configuration done under waral 

aripanControl


[image: image3.jpg]



Figure 2:  Marcel beam definition

3 M16

Under Wdline call m16gui&


[image: image4]
Figure 3:  M16 configuration
4 Laboratory and ARAL TCCD

waral –l aral

aripanControl &

sometime it is shut down and one as to start again from aropanControl

aropanEngineering &arinsStart

retrieve IRIS centroids on AUTREP

(measured evry day during calibration procesure at ~ 8h00 LT)

1/ waral  cd /vltdata/tmp/

  grep MARCEL  logFile 

or grep MARCEL  waral.yyyy-mm-dd.ops.log

de 12h UT  (8h00 Local)  a 12h UT 
during COM4 : date of the filename corresponds to date when the measurements were performed

or 

2/

go to : 
http://autrep.pl.eso.org/autrep2/pages/autwebLabRep.php
then copy the following test and chose database connection: GARCHING

#********************************************************************* 
# E.S.O. - VLT project 
# 
# who       when        what 
# --------  --------    ---------------------------------------------- 
# smorel    2009-01-26   created 

#************************************************************************ 
# 
#  Script to monitor the position of the MARCEL spots on IRIS 
# 
#************************************************************************ 

report_body (DataReport) 

ops_plot (marcel_A.gif) 
  plot_info (MARCEL beam A position, Day,Pixel) 
  plot_number_axis_y (2) 
  plot_mark (3) 
  ops_plot_add (waral,INS IRIS H_XMARCELA, X,0,24) 
  plot_mark (7) 
  ops_plot_add (waral,INS IRIS H_YMARCELA,Y,0,24) 
ops_plot_end 

ops_plot (marcel_B.gif) 
  plot_info (MARCEL beam B position, Day,Pixel) 
  plot_number_axis_y (2) 
  plot_mark (3) 
  ops_plot_add (waral,INS IRIS H_XMARCELB,X,0,24) 
  plot_mark (7) 
  ops_plot_add (waral,INS IRIS H_YMARCELB,Y,0,24) 
ops_plot_end 

ops_plot (marcel_C.gif) 
  plot_info (MARCEL beam C position, Day,Pixel) 
  plot_number_axis_y (2) 
  plot_mark (3) 
  ops_plot_add (waral,INS IRIS H_XMARCELC,Beam C X,0,24) 
  plot_mark (7) 
  ops_plot_add (waral,INS IRIS H_YMARCELC,Beam C Y,0,24) 
ops_plot_end 

ops_plot (marcel_E.gif) 
  plot_info (MARCEL beam E position, Day,Pixel) 
  plot_number_axis_y (2) 
  plot_mark (3) 
  ops_plot_add (waral,INS IRIS H_XMARCELE,Beam E X,0,24) 
  plot_mark (7) 
  ops_plot_add (waral,INS IRIS H_YMARCELE,Beam E Y,0,24) 
ops_plot_end 

ops_plot (marcel_F.gif) 
  plot_info (MARCEL beam F position, Day,Pixel) 
  plot_number_axis_y (2) 
  plot_mark (3) 
  ops_plot_add (waral,INS IRIS H_XMARCELF,Beam F X,0,24) 
  plot_mark (7) 
  ops_plot_add (waral,INS IRIS H_YMARCELF,Beam F Y,0,24) 
ops_plot_end 

report_end
5 DL

 wdline  -l dl

dlpsrvgui &

dlguiStatus

vcmgui &

 vcmwsgui &  :  allow to read Pin Pout and to define POutOffset
                             Pin and Pout includes the mechanical position of the DL !
msgSend wdline dlmswControl GETDELD “dl4”
msgSend wdline dlmswControl SETDELD "dl4,UT4,U4,112.000000,8.000000,13.044000,209.950000,3,31.8,15.045000,DEFAULT" 

dltestTrack <ldlnumber> <startOPL> <speed in mm/s>
dltestPresetDL_VCM <dl> <opl> [<pupil offset of Pupil Out>] 

How to make the DL vcm track on its Pin Pout while the DL is moved

make sure that Dl are set 

msgSend wdline dlmswControl SETDEL “dlXX”

(otherwise go the ISS but make sure that DLWS is not ignored !)

on dlguiStatus

[image: image5.png]=lolx]

Setup parameters

POUtOfiset

(=T

ONLINE IDLE IDLE
module state change state ignore tracking trajectory  LCU substate
dii | [oNLINE |[ Unparked = a ® ONLINE IDLE Setup taken at next Preset
diz ONLINE |[ Unknown — L E ONLINE Observing Mode POutOfiset  Tracking mode
d13_ | [ONLINE |[ Unparked =[x m ONLINE IDLE 00 1 |[i.000000] TRACK —
di4 ONLINE || Unknown = m = ONLINE IDLE 00 1 0.000000 | TRACK —
d1is ONLINE ‘Unknown —| =) ONLINE Observing 00 1 0.000000 TRACK —
die ONLINE ‘Unknown —| =) ONLINE Observing 00 1 0.000000 TRACK —
0o 1 0.000000 TRACK —
veml ONLINE | MONITORING| = o ™ 00 1 0.000000 TRACK —
vem2 ONLINE | HONITORING| — =) 00 1 0.000000 TRACK —
wvem3 ONLINE | HONITORING| ~| o m () i EU0n000 TRAGK =
4 ONLINE | HONITORING| - =]
— L PRESET SETUP
vemS | [ONLINE | [MONITORTNG] = L E
vem6 | [ONLINE | [MONITORTNG] = L E
vemws | [ONLINE | [ TRACKING = g =
opdc | [oNLINE =2 =
opdm | [ONLINE =2 =
fnt ONLINE -
dlprs | [ONLINE READY = =
Command Feedback Window _0ptions
Fle_Keyboard Seltings Help
] ]
ENDONNOBNO0RE T 6EeE




check that all needed components are ONLINE

vcmws Online Tracking

VCMX online Tracking

other ignored

Define parameters of the delay line

Under wdline

get the current configuration of the DL

msgSend wdline dlmswControl GETDELD “dl4”

this returns

DLID, TEL ID, STATION ID,STATION POS U, STATION POS V,STATION POS W, OPL0,InputCHannel,PupilIN,PupilOUt,OPDfilename
set the current configuration of the DL

 msgSend wdline dlmswControl SETDELD   dlmswControl  “……..”

note: OPL0 is not important
           PupilIN,PupilOUt corresponds actually to a PupIn0 and PupOut0 !!! (see ISS doc)
under  vcmwsgui

select setup and then preset

[image: image6.png]D 134.171.12.225 - 0 - X-Win32 =loix(

ONLINE
TRACKING
Calculation results Setup taken at next Preset Setup parameters
Active  Mode ROC Curvature pln pOut offset Mode ~POuOfiset  Trackingmode  POutOffset
d DL1 1 1 1 -1.000000 -1.000000 8.996540 5.403540 1.000000 1 1.000000 TRACK — 1
oLz o 3 z 0.000000 0.000000 0.000000 0.000000 0.000000 1 0.000000 TRACK — o
DL3 1 1 33052.152500 0.000328 14.402929 20.402929 0.000000 1 0.000000 TRACK — o
DL4 a 1 4 0.000000 0.000000 0.000000 0.000000 0.000000 1 0.000000 TRACK —
DLs a 1 5 4631.615060 0.000216 12.496060 19.351060 0.000000 1 0.000000 TRACK — o
oL6 0 3 |s[ o0.o000000) 0.000000) 0.000000)[ 0.000000) 0.000000 1 | [0.000000 ] TRACK — o
oL7 a 1 7 0.000000 0.000000 0.000000 0.000000 0.000000 1 0.000000 TRACK — 0
DLa a 1 |a[ o0.o000000) 0.000000) 0.000000)[ 0.000000) 0.000000 1 | [0.000000] TRACK — o
o S PRESET SETUP
OFF VCM1 [START
R VCM2 |START
— VCM3 [START
Command Feedback Window _0ptions
07:54:05 PRESET > INVOKED
07:54:16 PRESET > REPLY/ L  OK 7
[+]
] g = — 7 [ i | ]
“a A= onscreenkeyboard =10l

3
A start] ) com213ttmchaons|[0 13417112,

V& 13417112

File_Keyboard _Settings _tielp





vcmwsgui Pin and Pout includes the position of the DL !!!!!!

POutOffset is defined before the BC
for an Offset X after the BC, POutOffset must be set to X.(4.44)^2~20.X

Matlab code ComputeVCMParametersATBC  requests offset after the BC (=X)
then move the DL using 

dltestTrack ldlnumber startOPL speed in mm/s

(Check that PoutOffset is taken into account)
How to change Rate/Acceleration Limiter for individual DL
On wdline->ccseiDb & environmnet ldlx--> select path :delay_line:dlpctl:control:miscdev:fps
6 DDL and DOPDC

Wddl –l ddl
ddlgui –e lddlX (X=1,2,3,4)

ddlguiStatus
ddlguiUser

range -34000 microns to 34000 microns

cd /vltdata/ENVIRONMENTS/lddlXs

cd ddlDATA

STRTREP records max 200000 points at 8kHz (25 sec)

File: tacreport.XXXXXXXXXXX.txt

Index time in microsec sampling metrology offsetrmn

To see trajectory plot:

ddlPlotStart X (X=1 2 3 4)

How to change the rate/acceleration limiter:
export TACENV=lddlX
ddltacgui &
set the modblck Name to ReferenceRLim? 
Param Field: rate=1000 and Acceleration=8000
and select again MODBLCK
7 FSU

1 PSF in K (FWHM)=145 microrad_lab=30 arcsec_lab=0.5 arcmin_lab=0.3 arcsec_sky (AT)
(fiber 9 microns and FSU doublets have f=62.0543mm at lambda=2.3 microns)

psg

wprima

check that IRACE server is running

psg iracq

check that there is a iracqServer  -inst FSU or FSUB 

if it exits,

(advance user: use the alias iracqGUIA (recreate a panel but not a server) to start irace panel)
if it does not exist

iracqFSUA (or B): starts the server and the irace panel at the same time
pfdetguia

pfdetguib

online

(pfdet needs to be online before to use pfcs)

pfcsguib

pfcsguia

go online
enter the parameters   

Ro int=0.001

GD Rate=1

RO Mode: NDRO

ND Sample=14 (set by look uptable)
DUROF=1

NRESET=2

and select SET

(prerequisite: pfcs, pfdet must be online and  the irace server running)
pfacuguia

pfacuguib

pfttpguia

pfttpguib

if detector doe not seem to work, try killing the irace server process

psg

kill (number of first column)

to get the flux on rtdscope, one has to use the rmn monitor

rlogin wvgvlti –l mon

rtdscopGui &
select the right block (only in stand-by) and go online

(the metrology need to be online,at least one pmacqgui to work !)

If RTDscope does not display any data:
check that tacgui is online with the proper config file
rlogin wvgvlti -l mon (Password: Bnice2me) 
tacgui  -e lvgmon 

Init 

select entry box  close to config select rmnmon.tac

do config

and then go online


check if the rtdscope process died: 
-> psg rtd 
if the rtdscope process is not listed, need to restart some irace tasks by typing:
->rtdscop -e lvgmon -n rtdscop_lvgmon &
to do spiral search and do BTK need to select 

OPMODE in AUTOTEST

for pfttpgui  and pfacugui

(different from sky positions)

· start from  
offpos: start from current position and go away by 200 micro rad

center: go to zero ; zero

wvgvlti mon:~ 178 > tacgui &
check that tacgui &-> init online to get "default config" defined to rmnmon.tac 
wvgvlti mon:~ 179 > rtdscopegui & --> use flux !
8 PACMAN
rlogin  wpacman –l pacman

bob &

load PACMAN_gen_Record

DIT how long do we record

NDIT how many times the template is looped

RECMODE=PACMAN

TARGET=SAMUEL   (this will appear in the keyword OBS_TAG_NAME)

cd /rmnrec

ls –ltr 

PACMAN_GEN_RECORD* should appear 

to see data:

rtd PACMAN_GEN_RECORD*

testing at Paranal

to run the FSU template from PACMAN, ISS needs to be configured properly

issguiObsStatus should be in state ONLINE

if not

need to ignore for example DLCS ARAL (if they were not online)

FeedMode should be SINGLE_FSUA

to select this, start issguiConfig on the machine wvgvlti user iss
under EDIT MODE (top), select  expert mode

then select feedMode

also the configuration must be valid…
if not change valid config on issguiConfig

to run templates which do not require ISS to be configured  (OBSOLETE)
use template not from PACMAN but from the rmn recorder machine

wvgrec –l rec

bob

select the proper template 

data are located in  $INS_ROOT/SYSTEM/DETDATA
9 RMNMON
How to use rmnmon 

wvgvlti -l mon 

rmassopgui & 

choose none 

RTD_scope 

choose block 

Recording-> filename saved where rmassopgui & was started 

10 IRIS

waral

irisguiEngineering

irisrtd

If IRIS RTD is running somewhere else, you may have to kill the process
do : psg iris
and kill the process (first column number)
if it is defunct...try kill -9 <process number>

sometimes need to kill “seqwish .rtdb..” process and not the rtd...

irisguiEngineering  

startX=1  (only odd !0

starty=1

winsize=128 (only even !)

Uncorr
fenetre 32 centree sur 64x64

using Marcel: IRIS: window 47,47 size 32, double corr such that small min dit can be used (otherwise IRIS saturates)
msgSend "" iriswsControl SETIRIS "Q,TEL,STATION"
msgSend "" iriswsControl SETREFB "Q,X,Y"     (set ref pixel for a given Q)
msgSend "" iriswsControl CLRIRIS
   IRIS ref pixel not properly set by ISS in dial feed config (use 64,64) instead of (64,52): Fixed by Philippe by updating iriszeropointtable (under irisdata ccseiDb)

How to take IRIS movies

./irisMovieShutBGD.sh   time_in_sec filename

first do background by moving Notch translation stage with black paper on it

Then takes movies

nb of frame depends on actual DIT and selected time in sec

from vltuser/aral/GIP

do more irisMovieShutBGD.sh for manual

data are collected in  $INS_ROOT/SYSTEM/DETDATA

(path noramlly always used to save image data)

middle button CCD Guider FAS

                           or guide acquisition: can also save image from there

(or RTD guider FAS)

data should be saved in  $INS_ROOT/SYSTEM/DETDATA
	Configuration
	IRIS Filter
	IFOA
	IFO

	Daily calibration


	H
	dichroics  
	mirror

	FINITO/AMBER


	K
	dichroics  
	Mirror

	PRIMA


	H
	mirrors  
	dichroics


11 AT-STS

on the terminals of the VLTI control room

· log as user=at1, 2 , 3 or 4 pwd=Bnice2me
watXtcs  -l atcs

Bnice2me
Export LCUENV =latXvcm

vcmgui &

pspzgui –l  latXvcm

pspzgui –l  latXfsm

export LCCENV=lat4fsm

mvdrotgui &

TCCD of the AT’s: 

rtd –camera ccdagfas &

to get the AT during day-time ready for test, with shutter open:
· run osfScript: atosfDayTimeTests.osf

· this script is equivalent to day-to-night, but it preserves the cooling. \; may have start air-conditioning manually

[image: image7.jpg]M15

o®

M15

AR

: e M11

T
i
I g

» ”
é -.-.-‘.-.:;:-_.m,‘.v_.,-' -

B -
RFQ:! S ™
e L «M
© — —
O I tl 31
©) (
B o
: - - "MM:"‘“
= e -
= 5
1 1 TR RS
e it
e R
R e

RR3

M16

M12

o| O

M12 .

M16

® O





[image: image8.jpg]RR3

M11 mechanism
M13

M12

e .

RR1 M9

n ’ . | \\i
MA5

M14 mecharf

o ; FAS

R I —






[image: image9]
Scale TCCD: 6 pixels/arcsec_sky.

AT3-STS: The difference between Az axis and M10 edge is 2.4 pixels along X or 0.4 arcsec_sky
From Com7:

Scale FSM ~ 0.45 microns_piezo/arcsec_sky       or  2.2 arcsec_sky/micron_piezo
                     0.075 microns_piezo/pixel               or  13.3 pix/micron_piezo
The scale factor  fsm(micron_piezo) to fsm(U,W) is about  50
12 PRIMA recorder etc..

13 ISS
telnet wvgvlti  (rlogin does not work)

user: iss

PWD:

PARANAL OPERATIONAL VERSION OF  ISS
	issguiConfig : Configure down to the SW

[image: image10.png]ptions _Edit Mode

REQUESTED

128
NONE

ROS
sTS

sTS

none
none
none
none

Telescope
AT3

AT4
none
none
none
none

CURRENT

128

IRIS

Telescope
AT3

AT4
none
none
none
none

Command Feedback Window

feed mode

SINGLE

feed mode

PRIMA_DUAL

Location
Gz

Jz
none
none
none
none

Options

SgUIConfig L WGV

CLEAN

CHECK

LOAD
CHECK/SAVE

current

last valid

CONFIGURE

Location
Gz

Jz
none
none
none
none

active arms

2

Switch Yard
comp. dif,
comp. dif;
none

none

none

none

Input
1
3

AT3,AT4

opl0

telescope string

95.7393
158.1483

0

0
0
0

+ logical

@ FiiFeb 51045 Q

physical

predefined

Switch Yard
compressed
compressed
none
none
none
none

pupiling
8295 6702
8295 14295
0 0

pupilOuto

0 0
0 0
0 0

Fie_Keyboard _Settings _Help

Page: 550167 | Words 7463 | B Enolan (US)

) start| @) PRICSProcFringeTrackin... | &) Inbox for sevequs@eso,

RREREED BRERD

F1g F11{F1

bksp
]

del| end| par

b puy

bik

.1.1.1.1. | AaBbCede | AaBbCc Aasbceoe AaBbt

adings | Thomal | TSubtitle THoSpac. Tile

152127CC0 ofthe ATS

ErE—
15213PRMET

152.14PRIMA recorder atc,

15215055
181085 R Fogindoss ot werk)
el

oo

miSeats®

Subtle Em.

# Find -
2 Replace
_ Change

Styles~ || v Select~
5| Editing

A

VCM CURVIROC for various Pout
Norrinal Pout for AT-J2 DL#4=90.8m

48 47 46
Vi Curvature in 1

Pupil distance from Station center ()

B

25 0

VeM ROC in rn

05

Pupl distance from Station center ()

VCM_CURV(ama)+7.296
)

3365:VCN ROCimm) = 17228
Bl AR0C= 0 3368 o)

200

7]8ls
a|s|s

+ [[-1Re-... | 3 On-sereen keyboard

| 22 onscreen Keyboard

[EEE

mson @O @ © @

PET B




	issguiObsMain: does not allow to configure the lab for pacman. Need to use issguiTestPRIMA &: 

[image: image11.png]File Edit View Terminal

issifTestFitsExe
issmcfgAutoConfig
issmgr

issmswControl
issprsAction
issprsBroadcast
issprsCompAct
issprsControl
issprsDispatch
issprsReacquire
issshadowlap
isstclFileTrunc
isstestARAL
isstestARAL_THGALGN
isstestARAL_TNGALGN2
isstestARAL_TMGALGN_TADC
isstestARAL_TCCD_CENTROT
wogvlti iss:~ 1007 > iss
[2]+ Exit 127
wogvlti iss
wogvlti iss
[2] 13622
wogvlti iss

1008 > iss
1009 > issy

1010 > DBG:

Terminal

@ FiFeb 5,110 Q

Array' Lab\ Sky} Align},

Mirror Configuration

Mirror Configuration

Switchyard Config,

Configure

Beam
Compressors

ARAL & MIDI FO

Command Feedback Window

11:19:02
11:19:13

Options

*** Updating delay line limits for 2 telescopes
*x% ... delay line limits updated. **x

AaBbCc Assoceoe AaBbt

7sul

153 Preparation DLVCM tracking test
AT#4-12 DL#4

TheoretcalSTSVCM crsture
Using TS, VG Ssmssi0

Sl
DalayLine Dist

STSDATAFDE

vouLsTs.

staion cass; OFS 2 367200200 )

WIROC s:0.2210735 (m)

1 curvaturs = 5223826002 (2]
0855705001 ().

Sl
DalayLine Dist
ST DATA VLT-SPE.£50-15736-3186 ssus 28 3 2007

vouLsTs.

staion cass; OFS 2 3672002002 )

MIROC s:0.2098233 (m).

1 curvaturs = 4 7655158002 (2]
0855705001 ().

| 22 onsereen Keyboard

[EEEEE
wson O[O @ © @

@

8 o



[image: image12.png]B G

File Edit View Temminal Tabs Help

Login incorrect

login: iss
Password:

Last login: Fri Feb 5 07:53:15 from te7.hq.eso.org
VLTSW_RELEASE: VLT2008

wvgvlti iss:~ 1000 > issguiConfig &

[1] 10012

wygvlti iss:~ 1001 > Application initialization faile
DISPLAY environment variable

panel EXTTS : Tcl library libpanPublic.tcl not found

no display name and no §|

[1]+ Exit 255 issguiConfig
wygvlti iss:~ 1001 > export DISPLAY=tel3:2
wogvlti iss issguiConfig &

[1] 10018

wogvlti iss

wogvlti iss: issguiTestPRIMA

wogvlti iss
[2] 10336
wvgvlti iss:

issguiTestPRIMA &

[pmiss - @wprima)|_] [issguiConfig - @v|

rerminal

#start| @ PRICSProcFringeTrackin... | &) nbox For sleveque@eso. ‘D(oMs—w—zﬁJu\vznns

PRIMA FSUA

Specials for PRIMA_FSU
(sciencefautotest/autocollimation)

Specials for PRIMA_FSUB:
(science)
M1B -> inputs 2

M1B -> inputs 4

Set and clear simulation flags:

mita SWUB
mith swu7.
swug

Command Feedback Window

@ FiFeb 51042 Q

wyglti

Configure Mirrors

FINITO FO -> DICHRZ

Tel. of arm 1 uses STS
Tel. of arm 2 uses STS

SIMULAT

Options

\ kzlSZ(sIzv:quz) JM\nutes(OMlDDvepava | Jmmmomsmms |

AaBbCc aasbcede AaBbt

152118757

15227CCD of the AT

rd-camers e

15213PRMET

152.14PRIMA recorder atc,
15215155

ogindossnot wrk

VCM CURVIROC for various Pout
o Norrinal Pout for AT-J2 DL#4=90.8m

48 48 47 48 45 44 43
Vi Curvature in 1 1

Pupil distance from Station center ()

100,

3 On-Screen Keyboard

3 On-Screen Keyboard

i distance from Station center ()

°
&

«= 1142




	issguiObsStatus
[image: image13.png]CHcIRI=EEY T RS

€ Applications Actions & &% (@

VLTI Status
ONLINE
Mode sw.
IDLE
DLCS Motion

DLCS Tracking
TRACKING
OPDC Fringes Ch1

Array
TRACKING
VL

LG IDLE
Chopping
NOT CHOPPING
OPDC Fringes Ch2

Telescopes | 155 Processes' PRIMAY

telescope state

ONLINE

ONLINE

beam line state

ONLINE
ONLINE
ONLINE

Tel Station DL IP

AT3 Gz DL1 IPT
AT4 Jz DL3 IP3

Shadowing| 0 | () FSU

RemTrkTime; i

substate ignore.

TRACKING

TRACKING

Disable all telescopes

substate ignore.

TRACKING

1SS MIDI Aral IRIS Finito Amber

1B A 2z 2z 1
z A B 1 0 2z

FSUB | 1AS RIS

(shadow) 0| (phys)

Terminal

File Edit View Temminal Tabs Help

[4] 16635
{1]  Done
{21 Done

wvgvlti iss:

[5] 16743

wvgvlti iss:

[51+ Done
wigvlti iss
wogvlti iss
[5] 25353

1013 >
1013 >

wogvlti iss:~ 1014
issguilbsStatus &

[6] 28060
[5] Done

wvgvlti iss:

[7] 28173

wvgvlti iss:

[8] 28315

wvgvlti iss:

[9] 28437

wvgvlti iss:

[10] 28602

wvgvlti iss:

1015

1016

1017

1018

1019

issguiConfig
issguiObsMain
issguilbsMain &

DBG> constructor{} - 11:

issguiObsMain

issguilbsMain2 &

DBG> constructor{} - 11:

issguiObshain2
issguilbsStatus2 &

issguilbsStatus &
issguilbsStatus2 &

issguilbsStatus &

0

Projected Baseline Info FeedMode | PRIMA_DUAL

Terminal

] ]
ST LT Le Lol ol o Lol oL ol 11 v R [mfoud T/ [ |- |——

2:36 leaving after 1 seconds ...

3:37 leaving after 0 seconds ...

@ FiiFeb 51139 Q

(5] Minutes COM 10 prepara. . | 1] PRIVET-COME-4LT-TRE

3 onScreen Keyboard 2 onscreen Keyboard

°
&

« = 1239






VERSION OF  ISS for COM10
	issguiConfig : Configure down to the SW

[image: image14.png]ptions _Edit Mode

REQUESTED

128
NONE

ROS
sTS

sTS

none
none
none
none

Telescope
AT3

AT4
none
none
none
none

CURRENT

128

IRIS

Telescope
AT3

AT4
none
none
none
none

Command Feedback Window

feed mode

SINGLE

feed mode

PRIMA_DUAL

Location
Gz

Jz
none
none
none
none

Options

SgUIConfig L WGV

CLEAN

CHECK

LOAD
CHECK/SAVE

current

last valid

CONFIGURE

Location
Gz

Jz
none
none
none
none

active arms

2

Switch Yard
comp. dif,
comp. dif;
none

none

none

none

Input
1
3

AT3,AT4

opl0

telescope string

95.7393
158.1483

0

0
0
0

+ logical

@ FiiFeb 51045 Q

physical

predefined

Switch Yard
compressed
compressed
none
none
none
none

pupiling
8295 6702
8295 14295
0 0

pupilOuto

0 0
0 0
0 0

Fie_Keyboard _Settings _Help

Page: 550167 | Words 7463 | B Enolan (US)

) start| @) PRICSProcFringeTrackin... | &) Inbox for sevequs@eso,

RREREED BRERD

F1g F11{F1

bksp
]

del| end| par

b puy

bik

.1.1.1.1. | AaBbCede | AaBbCc Aasbceoe AaBbt

adings | Thomal | TSubtitle THoSpac. Tile

152127CC0 ofthe ATS

ErE—
15213PRMET

152.14PRIMA recorder atc,

15215055
181085 R Fogindoss ot werk)
el

oo

miSeats®

Subtle Em.

# Find -
2 Replace
_ Change

Styles~ || v Select~
5| Editing

A

VCM CURVIROC for various Pout
Norrinal Pout for AT-J2 DL#4=90.8m

48 47 46
Vi Curvature in 1

Pupil distance from Station center ()

B

25 0

VeM ROC in rn

05

Pupl distance from Station center ()

VCM_CURV(ama)+7.296
)

3365:VCN ROCimm) = 17228
Bl AR0C= 0 3368 o)

200

7]8ls
a|s|s

+ [[-1Re-... | 3 On-sereen keyboard

| 22 onscreen Keyboard

[EEE

mson @O @ © @

PET B




	issguiObsMain2: allow to configure the lab for pacman.

[image: image15.png]€ Applications  Actions & &% @

Array' Lab\ Sky} Align},

VLTI Status Array
ONLINE TRACKING
Mode sw. v
IDLE

DLCS Motion

LG IDLE
Chopping
NOT CHOPPING
OPDC Fringes Ch2

DLCS Tracking
TRACKING
OPDC Fringes Ch1

Telescopes | 155 Processes' PRIMAY
telescope state substate ignore

ONLINE TRACKING

ONLINE TRACKING

Disable all telescopes

bearn line state substate ignore.

ONLINE TRACKING

ONLINE

ONLINE

Tel Staion DL IP IS5 MIDI Aral IRIS Finito Amber

AT3 Gz DL IPT 1 B A 2z 2z 1
AT4 Jz D3 IP3 2 A B 1 0 2
Command Feedback Window

Shadowing | 0 | (%) FSU | FSUB | IAS RIS e >

RemTrkTime; 0 | (shadow) 0 | (phys)

Projected Baseline Info FeedMode | PRIMA_DUAL

Mirror Configuration

Switchyard Config,

Configure

Options

*** Updating delay line limits for 2 telescopes ...

[Terminal] & Terminal [ VLTI Status - @wvgvlti

] DEVELOPMENT - VLTI Obsen|[] VLTI Status - @wvgvlti

@ FiFeb 51133 Q

5 COM 10 prepara... | 2] PRIVET-COME-WLT-TRE-.

3 onScreen Keyboard

[Eoeme

-lofx|
&
<o I
Unvead: 1 | Total: 583
3
EEE
oM @) «QPE 2




	issguiObsStatus2 new tab with “beams”
[image: image16.png]IR Y T ET S

€ Applications  Actions & (% (@ @ FiiFeb 51135 Q

VLTI Status sy -
ONLINE TRACKING
Mode sw. VLTI
IDLE
DLCS Motion

LG IDLE
DLCS Tracking Chopping
TRACKING NOT CHOPPING Terminal

File Edit View Temminal Tabs Help

[2] 13622
wogvlti iss:~ 1010 > DBG> constructor{} - 11:10:02 leaving after 0 seconds ...

OPDC Fringes Chi OPDC Fringes Ch2

Telescopes {Common'| 1SS PRIMA! Beams', wvgvlti iss:~ 1010 > issguiObsStatus &
) 1P4 | IP5 [ _IP6 | 1P7 | 1PB [3] 16105
Telescope wvgvlti iss:~ 1011 > issguiObsStatus &
Station [ g2 [4] 16635
oL [1] Done issguiConfig
oL [2] Done issguilbshain
ARAL wvgvlti iss: issguiObsMain &
IRIS [5] 16743
FINITO wvgvlti iss: DBG> constructor{} - 11:22:36 leaving after 1 seconds ...
ng: [5]+ Done issguiObsMain
AMBER - wvgvlti iss:~ 1013 >
MiDI wvgvlti iss:~ 1013 > issguiObsMain2 &
PIONIER [5] 25353
B wvgvlti iss:~ 1014 > DBG> constructor{} - 11:33:37 leaving after 0 seconds ...
issguiObsStatus &
(6] 28060
5] Done issguiObsMain2
wvgvlti iss:~ 1015 > issguiObsStatus? &
(7] 28173
wvgvlti iss:~ 1016 > []

Shadowing [ 0| (%) FSU [ FsUB | 1As [ RIS
RemTrkTirme: 0| (shadow) 0| (phys)

Projected Baseline Info FeedMode | PRIMA_DUAL

Terminal

(] Minutes COM 10 prepara... | 1) PRIVET-COME-WLT-TRE-... | £ On-Screenkeyboard | (23 On-Screen Keyboard







issguiConfTest

example

[image: image17.png]9

Ele Edt View Go Message Toos Help

«< [ o 1 G [N

=}
EHDHHS ®Rm % %

= ~ ]
€ Applications _Actions & &5 (@ @ ThuFeb11, 1127 Q

~ = <o

File Std. Options Help

VLTI Arm Configuration Test Panel

Feeding Mode  Telescope  ROS  Location PhysDL  Input 1. Switchyard 2. Switchyard
PRIMA_DUAL ATa 5TS Gz DLz 1 comp. dif; comp. dif; TESTCONF| Franceise: anays
Num__| Feed Mode Telescope .. | ROStype | Location Phys Delay .. |_Input Chan.. | Sw Yard Co... | Sec Sw Yar.. | OPL Zero Pupil In Zero | Pupi Out Zero

1 PRIMA_DUAL | ATa STS Gz DLz 1 comp.dif. | comp.dif. | 87.2393 9045 7.452

2 PRIMADUAL | AT4 sTs Jz DL4 1 comp.diff. | comp.dift | 1583883 9045 983z

3 - - - - - o - - o o o

4 - - - - - 0 - - 0 0 0

5 - - - - - 0 - - 0 0 0

3 - - - - - 0 - - 0 0 0

7 - - - - - 0 - - 0 0 0

8 - - - - - 0 - - 0 0 0

9 - - - - - 0 - - 0 0 0

10 - - - - - 0 - - 0 0 0

Clear Table

Command Feedback Window _ Options

11:26:16 TSTCONF > REPLY/ L  158.3863,9.045,9.832
11:27:11 TSTCONF > INVOKED
11:27:11 TSTCONF > REPLY/ L  97.2393,9.045,7.452

M=

] DR - Wm
5 T Lo ol ol s Lol oL ol 11 the foe [ o]

# | |8 Teminal [)issguiConfTest

Total 155

A)start| [ Acceptance data packeg... | A MaTLA 7.3.0 (R2006k) ditor - x:ATSDYPRIMA ... | (@) Mozila Firefox | €9 sent for sieveque@eso.... | ] PRIMET-CoME-MT-TRE-... | nsvon @O @ © O [«®





Config Com14 with Pupil offsets for AT4-J2

[image: image18.png](@20 )> Cookbook-Samuel COMI3.v2 [Compatibility Mode] - Microsoft Word =
e - e C]
& cut - o # Find -
B N T
pae AoV EIREEIEY TR B e Replace
T romat et g icaions Actions &8 @ ity Mode) - Microsoft word -
Cipboara 5
e Std. Options Sound Addins  Acobat
@ Security Warning Mac
EI AaBbCcDc 1 AABBC 1.1 AaBl % #
e Std. Options [io] | comtin | esang1 | mesaing2 - change |eati
n n 5 styes -
e — VLTI Arm Configuration Test Panel
1
Feeding Mode  Telescope  ROS  Location PhysDL  Input 1. Switchyard 2. Switchyard =
DLCS Mot S
1 PRIMA DUAL —| ATs —| sTS —| Gz —|Dlz —| 1 —| comp.difi —| comp.dfi —| TESTCONF| e 5
DLCS Trac
Num | Feed Mode | Telescope .. | ROStype | Location Phys Delay ... | Input Chan... | Sw Yard Co... | Sec Sw Yar.. | OPL Zero | Pupil In Zero | Pupil Out Zero |esritaa_ouaLs confiure proper
NOT T 1 PRIMA_DUAL AT 5TS Gz DLz 1 comp. diff. comp. diff. 97.2393 3.007 7.452 -
e PRIMA_DUAL AT4 5TS Jz DL4 3 comp. diff. comp. diff. 158.1483 74.086 15.045 | —
OPDC Frin| 5 - - . . - 0 - - 0 0 0 avellN (no switchyers confi) ->Configure
NOT 1|4 - - = = = (i - - 0 0y i 650
5 - - - - - 0 - - 0 0 0 650 |
Telescope|| 5 o - - - - 0 - - 0 q q b
7 - - - - - 0 - - 0 0 0 =
telescopel| g ~ ~ ~ _ _ 0 = - q q g 650 |-243730 (=zenith UTS o site atituse=-
a2 | 8 - - - - - 0 - - 0 0 0 [gc=Primary-30arcsec (B=100m->
10 - - - - - 0 - - 0 0 0 7
AT3 ™
! PL=Om;sensor=FSUBIMags =Auto
Clear Table rentior-Fsus
Command Feedback Window _0ptions =
10:40:21 TSTCONF > REPLY/ L 158.1483,74.066,15.045
10:40:33 TSTCONF > INVOKED s
10:4D:33 TSTCONF > REPLY/ L  97.2393,9.007,7.452 4= =
[Test Configuration Table |
= . —
issguiConfig & Read-out Mode
[6] 16807 NDRO |
wvgvlti iss:~ 786 > Num. Samples per Pix. : [12
i iConfTest &
P Group Delay Rate : [1
[6] Done issguiConfig DUROF : [1
wegvlti iss:~ 787 > [] Shuter1: gpen -
0 (%, MIDI NONE
Shadowing| 0 | () FSU 1AS P, Shuter2: open |
RemTrkTirme: 0| (shadow) 0| (phys)
Projected Baseling Info .. | FeedMode [ PRIMA_DUAL SETUP | | CLRsTP | CALIB_ | UNcALIB | SwaP | UNswaP |

Page: 190128 | Wordsi1 | 5

I gl

Command Feedback Window _ Options

Terminal Terminal

»

|| [PRIMA CONTROL

[ ] PRIMA Setup - @w}

[] VLTI Status - @wv|

) lissguiConfig - @wv|| ) lissguiConfig - @w|

[ )issquiConfTest - @v|

T

Engiih US) |

@ start| (@) E50 - Paranal ste Detail. | €9 December 6 - 12, 2010 . | () Status-COMReports-Coo... | ] PRIMET-COMI3-VLT-TRE... | 1] Cookbook:Samuel_COML... | B te13.hq.es0.0rg - PuTTY | 3 Connect to Unix machine... || fE te13:1 (sleveque)





1    PRIMA_DUAL    AT4    STS    J2    DL4    Ip3    comp. diff.  comp. 

diff.    

OPLZero=158.1483

Pupil In Zero=22.796

Pupil Out Zero=15.045

2    PRIMA_DUAL    AT3    STS    A1    DL6    Ip1    comp. diff. comp. 

diff.

OPLZero=173.0293    

Pupil In Zero=81.777    

Pupil Out Zero=10.952

Baseline: B(J2-A1)=124.2 m

14 VCM curvatures for the At and DL
14.1 AT#4-J2 DL#4(-ip3)
Theoretical STS-VCM curvature:
Using STS_VCM_Samuel.m
	Station J2 

Delay Line DL#4 

STS DATA FDE 

**************** 

    VCM_STS 

**************** 

V-Offset to station center OFS 3.987000e-001 (m)

STS VCM ROC is: -0.2210735 (m)

STS VCM curvature is: -4.523382e-003 (mm-1)

Pout is: 9.089870e+001 (m)
	Station J2 

Delay Line DL#4 

STS DATA VLT-SPE-ESO-15736-3186 issue 2.8 april 2007 

**************** 

    VCM_STS 

**************** 

V-Offset to station center OFS 3.987000e-001 (m)

STS VCM ROC is: -0.2098233 (m)

STS VCM curvature is: -4.765915e-003 (mm-1)

Pout is: 9.089870e+001 (m)


[image: image19.emf]-5.1 -5 -4.9 -4.8 -4.7 -4.6 -4.5 -4.4 -4.3

x 10

-3

85

90

95

100

VCM Curvature in mm-1

 Pupil distance from Station center (m)

VCM CURV/ROC for various Pout

Nominal Pout for AT-J2 DL#4=90.9 m

-225 -220 -215 -210 -205 -200 -195

85

90

95

100

VCM ROC in mm

 Pupil distance from Station center (m)


Pout(m)= -17542(VCM_CURV(mm-1) + 7.296

Pout/C= -17542m/(mm-1)

Pout(m)= -0.3968(VCM_ROC(mm) + 174.29
Pout/ROC= -0.3968 m/(mm)


[image: image20]
For Nominal VCM ROC=-210mm

What is the DL4-VCM ROC for DL4_OPL=14m=2x7m

ComputeVCMParametersATBC('UT4',4,3,7,4.5,-1)
Telescope = UT, Station = UT4, DL 4 @ Position 7. m, Lab Input Channel #3, Pupil offset after BCs 4.5 m,  VCM radius adjusted 

· Input pupil distance  DistanceInputPupil (for DLpos=7)     
  = 16.842m= ISS PupIn0(9.0450)+DL internal path(0.797)+7m
· Exit pupil distance required DistanceExitPupil (for DLpos=0)=111.71m= ISS PupOut0 (15.045)+DL internal path(0.797)+7m+ shift 4.5m*4.44^2
· VCM ROC required (with specific DL optical par.) = 2.506195e+002 mm

·  VCM curv required (with specific DL optical par.) = 3.990112e-003 mm-1

For Flat STS-VCM’s, 

ISS:UTPupilBeforeDL must be redefined defined from U=54.125 to  

U=54.125 +[33.875+56.625-8.664]= 54.125 +81.836= 135.961
For STS-VCM ROC=-1m (installed in Paranal)
Pout=(distATPupFixVCM )=25.5
PupIn0(ISS) must be redefined to [9.045+33.875+56.625-25.5]=74.045m
Or use: UTPupilBeforeDL U=54.125+33.875+56.625-25.5=119.125

ComputeVCMParametersATBC('UT4',4,3,7,4.5,-1)
Telescope = UT, Station = UT4, DL 4 @ Position 7. m, Lab Input Channel #3, Pupil offset after BCs 4.5 m,  VCM radius adjusted 

· Input pupil distance  DistanceInputPupil (for DLpos=7)     
  = 81.84= ISS PupIn0(74.045m)+DL internal path(0.797)+7m
· Exit pupil distance required DistanceExitPupil (for DLpos=0)=111.71m= ISS PupOut0 (15.045)+DL internal path(0.797)+7m+ shift 4.5m*4.44^2
· VCM ROC required (with specific DL optical par.) = 1.540952e+002 mm

· VCM curv required (with specific DL optical par.) = 6.489496e-003 mm-1
Observation from COM12
· PupIn0(ISS) must be set in practice to 31.8m to get the proper metrology beam shape (and get DL4-VCM=0.56 bar for DL4_OPL=14m)
· Therefore the STS-output pupil must be shifted towards the center of the tunnel by 74.045-31.8=42.245m

· This corresponds to redefining distATPupFixVCM from 25.5 to 25.5+42.245=67.745m
· Or UTPupilBeforeDL U=119.125-42.245=76.88

Observation from COM15 (ACOM1)

· PupIn0(ISS) must be set in practice to 23 m (compared to 31.8 of Com12) to get the proper metrology beam. This represents a shift of 8.8 m towards the center of the tunnel
· This corresponds to redefining distATPupFixVCM from 67.745m to 67.745+8.8=76.54m
· Or UTPupilBeforeDL U=76.88-8.8=68.08

ComputeVCMParametersATBC('UT4',4,3,7,4.5,-1)
Telescope = UT, Station = UT4, DL 4 @ Position 7. m, Lab Input Channel #3, Pupil offset after BCs 4.5 m,  VCM radius adjusted 

· Input pupil distance  DistanceInputPupil (for DLpos=7)     
  = 30.79~ ISS PupIn0(23m)+DL internal path(0.797)+7m
· Exit pupil distance required DistanceExitPupil (for DLpos=0)=111.71m= ISS PupOut0 (15.045)+DL internal path(0.797)+7m+ shift 4.5m*4.44^2
· VCM ROC required (with specific DL optical par.) = 2.209110e+002 mm

· VCM curv required (with specific DL optical par.) = 4.526711e-003 mm-1
Theoretical DL-VCM Curvature as a function of the DL4 position

(with zero offset)
example:

ComputeVCMParametersATBC('UT4',4,4,0,0,-1)

Telescope = UT, Station = UT4, DL 4 @ Position 0.000000 m, Lab Input Channel #4, Pupil offset after BCs 0.0 m,
~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

· Input pupil distance  DistanceInputPupil (for DLpos=0)     
  = 9.842m= ISS PupIn0(9.0450)+DL internal path(0.797)

· Exit pupil distance required DistanceExitPupil (for DLpos=0) = 16.082m= ISS PupOut0 (15.285) +DL internal path(0.797)

· VCM radius required                                 

   = out of range (22.8m) instead of max 2.8 m
ComputeVCMParametersATBC('UT4',4,4,7,0,-1)

Telescope = UT, Station = UT4, DL 4 @ Position 7.000000 m, Lab Input Channel #4, Pupil offset after BCs 0.0 m, 
~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

· Input pupil distance  DistanceInputPupil (for DLpos=0)     
  = 16.842m= ISS PupIn0(9.0450)+DL internal path(0.797)+7m
· Exit pupil distance required DistanceExitPupil (for DLpos=0)=23.082m= ISS PupOut0 (15.285)+DL internal path(0.797)+7m
· VCM ROC required (with specific DL optical par.) = 1.718024 m

· VCM curv required (with specific DL optical par.) = 5.82064e-004 mm-1

[image: image21]
Test identite des donnees Matlab et VLTI SW
Control Model DL1,3,5 uniquement dispo
ComputeVCMParametersATBC('UT1',1,1,0,0,-1)

Telescope = UT, Station = UT1, DL 1 @ Position 0.000000 m, Lab Input Channel #1, Pupil offset after BCs 0.0 m,  

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

 > Input pupil distance (*)                            = 9.092000e+000 m  

PupIn0
 > Exit pupil distance required                        = 7.499000e+000 m 

PupOut0
ComputeVCMParametersATBC('UT1',1,3,0,0,-1)

Telescope = UT, Station = UT1, DL 1 @ Position 0.000000 m, Lab Input Channel #3, Pupil offset after BCs 0.0 m,  

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

  Input pupil distance (*)                            = 9.092000e+000 m

PupIn0
Exit pupil distance required                        = 1.175200e+001 m

PupOut0
msgSend wdline dlmswControl SETDELD   dlmswControl  “……..”

DLID, TEL ID, STATION ID,STATION POS U, STATION POS V,STATION POS W, OPL0,InputCHannel,PupilIN,PupilOUt,OPDfilename

Put DL#1 at pos=0

Check on the vcmwsgui that Pin and Pout corresponds to 

ccseiMsg on the dlmswControl Process
14.2 AT#3-G2 DL#2
Using STS_VCM_Samuel.m: Determine theoretical ROC for the AT-STS VCM for the station G2
	Station G2 

Delay Line DL#2 

STS DATA FDE 

**************** 

    VCM_STS 

**************** 

V-Offset to station center OFS 3.987000e-001 (m)

STS VCM ROC is: -7.446345e-001 (m)

STS VCM curvature is: -1.342941e-003 (mm-1)

Pout is: 3.214870e+001 (m)
	Station G2 

Delay Line DL#2 

STS DATA VLT-SPE-ESO-15736-3186 issue 2.8 april 2007 

**************** 

    VCM_STS 

**************** 

V-Offset to station center OFS 3.987000e-001 (m)

STS VCM ROC is: -7.313170e-001 (m)

STS VCM curvature is: -1.367396e-003 (mm-1)

Pout is: 3.214870e+001 (m)


Effect of Flat VCM on AT3-STS: The STS reimages the pupil at Pout=8.6664 m.
Origin of the result:
1.Use STS_VCM.m and scan “UTOutPupilu” until ROC converges to infinity. Pout~8.99
[image: image22.emf]8 8.2 8.4 8.6 8.8 9 9.2 9.4 9.6 9.8 10

-4

-3

-2

-1

0

1

2

3

4

x 10

4

Pout in m

Radius of VCM in m

file :VCM STS Pout .m


2. check com 2 report where we found that for AT3-G2: Pout(m)=-17200.VCM_curv(mm-1)+8.6664. For curv=0, Pout=8.6664 
So, with a flat STS-VCM, the DL input pupil position is increased by 32.1487-8.6664= 23.4823m

PupIn0 becomes [9.045+32.1487-8.6664]=32.5273 m
Equivalent to redefining UTPupilBeforeDL U=49.875-32.1487+8.6664= 26.3927
The corresponding DL-VCM adjustment is given by
ComputeVCMParametersATBC('UT2',2,2,0,0,-1) after redefining UTPupilBeforeDL for UT2=26.3927 in the code
· Input pupil distance  DistanceInputPupil (for DLpos=0)     
  = 33.32430 m= PupIn0(32.5273)+DL internal path(0.797)

· Exit pupil distance required   DistanceExitPupil (for DLpos=0)      = 8.009000 m

· VCM radius required                                 

   = 1.558980 m
Exit pupil Pout=8.009 including the DL internal path (0.797m)

So we should have ISS:PupOut0=GET(SET)DLD:PupilOUT=8.009-0.797=7.212 m
config of A beams used by iss even if we use PRIMETB-> so use ip3

Ip3 U=52800

Ip4=53040

[image: image23]
For Nominal VCM ROC=-731mm

ISS:UTPupilBeforeDL=49.875m
What is the DL4-VCM ROC for DL4_OPL=14m=2x7m ?

ComputeVCMParametersATBC('UT2',2,1,7,4.5,-1)
Telescope = UT, Station = UT2, DL 2 @ Position 7.000000 m, Lab Input Channel #1, Pupil offset after BCs 4.5 m,  VCM radius adjusted 

· Input pupil distance (*)                            = 1.684200e+001 m

· Exit pupil distance required                        = 1.041201e+002 m

· VCM ROC required (with specific DL optical par.) = 2.701721e+002 mm

· VCM curv required (with specific DL optical par.) = 3.701344e-003 mm-1
For Flat STS-VCM’s, 

ISS:UTPupilBeforeDL must be redefined defined from U=49.875  to  

U=49.875 –[17.875+13.875-8.6664]= 49.875 –23.0836=26.791
Note: for Roc=-2000mm, Pout=17.5 m this represents a shift of Pout=17.5-8.6664=8.8336 m compared to the flat VCM case.
14.3 Summary Dl-VCM ROC for OPL=14m obtained after ACOM1
DL VCM Curvature for Dl at OPL=14m (mechanical distance=7m)

-------------------------------------------------------------------------------------

AT3-G2 with STS-VCM_ROC=-731mm (nominal case, like UT case)

(distATPupFixVCM = 31.79m; ; Pin0/DL4=9.045m; UTPupilBeforeDL=49.875m)

ComputeVCMParametersATBC('UT2',2,1,7,4.5,-1)

· DL2-VCM ROC required = 2.701721e+002 mm

· DL2-VCM curv required = 3.701344e-003 mm-1

AT4-J2 with STS-VCM_ROC=-1000mm (NOT nominal case, but currently installed VCM)

(distATPupFixVCM = 25.5m; Pin0/DL4=74.045m; UTPupilBeforeDL= 119.125 m;)

ComputeVCMParametersATBC('UT4',4,3,7,4.5,-1)

Theoretical values:

· DL4-VCM ROC required = 1.540952e+002 mm

· DL4-VCM curv required = 6.489496e-003 mm-1
Values based on the calibration of the PRIMET beam shape during ACOM1 (July2011)

(i.e. Based on distATPupFixVCM = 76.54m ; Pin0/DL4=23m; UTPupilBeforeDL= 68.08 m )

ComputeVCMParametersATBC('UT4',4,3,7,4.5,-1)

· DL4-VCM ROC required = 2.209110e+002 mm

· DL4-VCM curv required = 4.526711e-003 mm-1
14.4 AT#3-A1-DL6-(Ip1)
(sketched to be flipped w.r.t vertical axis)

[image: image24]
15 Field orientation on the AT-TCCD

[image: image25.jpg]beam B - mirror 2

0y

U=+180
¥=-50

Beam A - mirror 1





Figure 4: For example only: AT#3-STS (G2) during AIV 

16 Unix pour les nuls and useful commands
sftp:

· how to use local commands: add l 

example:

lls

to recall last command: use !

example !sftp

will call the last sftp command, useful to connect to odyssey3….

when being the sftp session , you can delete a character by typing CtrlH

lftp sftp://vltitec@odyssey3
To access easily odyssey3 and the PRIMA logs

· ssh -XY vltitec@odyssey3.pl.eso.org 

· https://websqa.hq.eso.org/sdd/bin/viewauth/PRICS/

How make a screen shot

gnome-panel-screenshot --delay 10

fichier  saved in: /vltuser/aral/filename.pgn

(if you use ARAL)

or 

ksnapshot

lftp sftp://vltitec@odyssey3

msgSend wdline dlmswControl GETDELD “dl4”

msgSend wdline dlmswControl SETDELD "dl4,UT4,U4,112.000000,8.000000,13.044000,209.950000,3,31.8,15.045000,DEFAULT"

msgSend "" iriswsControl SETIRIS "Q,TEL,STATION"

msgSend "" iriswsControl SETREFB "Q,X,Y"

msgSend "" iriswsControl CLRIRIS

dltestTrack <ldlnumber> <startOPL> <speed in mm/s>

dltestPresetDL_VCM <dl> <opl> [<pupil offset of Pupil Out>]

http://autrep.pl.eso.org/autrep2/pages/

ccseiDb

-> environment wvgvlti

 DB Path

Appl_data->VLTI->VLTIParameters->optics->distATPupFixVCM

Table 

dbDouble
value

0(=AT1)

8.6 (flat vcm)

1(=AT2)

8.6 (flat vcm)

2(=AT3)

31.79 (vcm_AT-STS=-0.731m)

3(=AT4)

25.5 (vcm_AT-STS=-1m)  to be changed to 67.77 (value calibrated during COm12)

Need to configure iss afterwards

issguiConfig--> Configure

dltestPresetDL_VCM <dl> <opl> [<pupil offset>]  ->= offset of pupil out !

__oOo__

Pos ATX feeds IPX to beam B of DL


Pos UT X feeds IPX to beam A of DL


PosX UT=Pos(X+1)AT





A





B 





A





B 





A





B 





As seen towards the STS


or from the BC towards the tunnel





As seen towards the DL  Always true: north or south station, east or west DL





B 


OUT





A 


OUT





A


 IN





B 


IN





Delay Line





1AT





2AT





3AT





4AT





Beam B_out





Beam A_out





Ip1-Q2





Ip2-Q4





Ip3-Q1





Ip4-Q3





IP4





IP1





IP3





IP2





BSB





BSA





BSE





IP3=Q1





IP1=Q2





IP2=Q4= TTP1





IP4=Q3=TTP2





BSF





BSD





IP5=Q3





IP7





BSC





Met.to be realigned





AT#3 on G2





IFO4->Q4





Telescope 1





Leakage





DDL2





DDL4





DDL1





DDL3





ip4- AT#4/J2- beam-B -DL#4 (M16: DL#4->4AT)


Marcel BSB_F


Test: AT#4/J2- beam-A  -DL#4  (M16: DL#4->4UT)





ip3- Marcel (BSB_B)





Ip1:  Marcel (BSB_A)





PRIMA2 table





Telescope 2





Telescope 1





Telescope 2





PRIMET_B





PRIMET_A





IFO2->Q2





IFOA2-T


(mirror )





B2





V_lab





U_lab





W_lab





Z





A





B





G2





U=32





V=-24





M16





M14-VCM





M15





X





Y





PRIMA1 table





ISS:PupOut0=15.045


GET(SET)DLD:PupilOUT





vcmwsgui: Pin


ComputeVCMParametersATBC: DistanceInputPupil





A1





56.625





IRIS J band 


Q1=PSF mode


Test STS Cal





B1





IFO3->Q3





33.875m





ISS: PupIn0= 9.045m


GET(SET)DLD: PupilIN





IFOA1-T


(mirror )





IFO1->Q1





ip2- AT#2/G2 beam-B –DL#2  (M16:DL#2->2AT


Marcel (BSB_E)


Test: AT#2/G2- beam-A  -DL#2  (M16: DL#2->2UT)





M16





M14-VCM





M15





config of A beams used by iss even if we use PRIMETB-> so use ip3


Ip3 U=52800


Ip4=53040





Pout=25.1m 


(VCM=-1m)





ISS: DLMechZeroU =45.080


(matlab) =44.283 (includes DL internal path=0.797)





Matlab:UT exitPupilCoord=


ISS:UTPupilBeforeDL U=54.125





V=-39.375





Vcmwsgui: POutOffset


(before BC)





Vcmwsgui: Pout


ComputeVCMParametersATBC:DistanceExitPupil











VCM_STS.m: Pout=8.6664m 


(flat VCM)





ISS:PupOut0=7.452 m


GET(SET)DLD:PupilOUT





vcmwsgui: Pin


ComputeVCMParametersATBC: DistanceInputPupil














17.875m





13.875m





8.6664m





IP1: U=52320





ISS: PupIn0=9.045 m


GET(SET)DLD: PupilIN





ISS: DLMechZeroU =58.920


(matlab) =59.717 (includes DL internal path=0.797)





Matlab:UT exitPupilCoord=


ISS:UTPupilBeforeDL U=49.875





V=-37.875





DL2


VCM





As seen towards the STS


or from the BC towards the tunnel





A





B





As seen towards the DL  Always true: north or south station, east or west DL





A IN





A OUT





B OUT





B IN





STS-M10 and fsm positions





FEED A





FEED B





±4 arcsec


Imposed by PRIMET





±2 arcsec





B(0,0)





DL4


VCM





A





B





V=-96





U=88





J2





M16





M14-VCM





M15





A(0,0)





B(10,10)





VCM_STS.m: Pout=32.1487m


(VCM ROC=731.31 mm)





OFS=398.7e-3mm VCM_STS.m








Ip3: U=52800





Note: For STS-VCM=200mm, Pout_STS~95 m





Vcmwsgui: Pout


ComputeVCMParametersATBC:DistanceExitPupil





Vcmwsgui: POutOffset


(before BC)





OFS=398.7e-3mm VCM_STS.m








VCM_STS.m: Pout_STS=90.8987m


(VCM ROC = 209.8mm)





A(28,28)





M16





8.6664m





Pout=8.6664m 


(flat VCM)





U= -32





V= -64





B





A





DL6


VCM





V=-41.375





Matlab:UT exitPupilCoord=


ISS:UTPupilBeforeDL U=  46.375





ISS: DLMechZeroU =58.920


(matlab) =59.717  (includes DL internal path=0.797 m)





ISS: PupIn0= 9.045m


GET(SET)DLD: PupilIN





ISS:PupOut0=15.045


GET(SET)DLD:PupilOUT





Ip1: U=52320





Vcmwsgui: Pout


ComputeVCMParametersATBC:DistanceExitPupil





OFS=398.7e-3mm VCM_STS.m








VCM_STS.m: Pout_STS=101.399 m


(VCM ROC = -186.5mm)





Vcmwsgui: POutOffset


(before BC)





vcmwsgui: Pin


ComputeVCMParametersATBC: DistanceInputPupil





22.625 m





78.375





Note: For STS-VCM=200mm, Pout_STS~95 m





8.6664m





Pout=8.6664m 


(flat VCM)





config of A beams used by iss even if we use PRIMETB-> so use ip1


Ip1 U=52320


Ip2=52560





config of A beams used by iss even if we use PRIMETB-> so use ip1


Ip1 U=52320


Ip2=52560








