## Slide 1: METIS ICS & METIS SCAO
Wim Pessemier: Low-level software
Wim De Meester: High-level software
Martin Kulas: METIS AOCS

## Slide 2: METIS = Mid-infrared ELT Imager and Spectrograph
Covers L, M and N bands
Most subsystems are inside the cryostat, operating at 35 to 100 K
Current status: subsystem AIV

## Slide 3: Large number of functions

## Slide 4: METIS ICS: Low level software

## Slide 5: Low level software
Focus on FCS
  PLC
    Instantiate standard FBs for every standard device
    Develop custom FBs (controller, simulator, GUI template) for every special device
    Group all devices per subsystem, create one big GUI
  Workstation
    Instantiate standard classes for every standard device (=configuration)
    Develop custom classes (C++ controller, Python simulator, pyFcsGui widget) for every special device
    Group all devices per subsystem, define pyFcsGuis per subsystem
Subsystem AIV is ongoing

## Slide 6: Standard devices
PLC GUI (= assembly of VISU templates)
OPC UA address space
subsystems
devices
simulators

## Slide 7: Standard devices
Workstation pyFcsGui

## Slide 8: Special devices : ICAR (= extended standard Motor)

## Slide 9: Special devices : Physik Instrumente piezo controller (multi-axis)

## Slide 10: Special devices : Modulator (fast tip-tilt)

## Slide 11: Special devices : blackbody source

## Slide 12: Special devices : Fuse

## Slide 13: AIV in practice
Every subsystem team gets a test-kit + the final hardware
Test cryostat
Modulator Piezo amplifier
Control unit
PI E-712 (piezo controller)
Warm cable towards ICAR
Test PLC
Test WS

## Slide 14: AIV in practice
Control Units (CU) contain all Beckhoff I/O

## Slide 15: METIS ICS: High level software

## Slide 16
Start-up and shutdown scripts for all subsystems
Supervisor for each subsystem
Includes nomad script to start up InfluxDB, and Grafana

## Slide 17
Grafana dashboards:
Overview for all subsystems
Page for every hardware component

## Slide 18
Work on Sequencer scripts (and OBs) from top to bottom and bottom to top

## Slide 19
Next steps:
Add IP to sequencer
Use Tino / Otto to select OBs
Integrate SCAO sequencer scripts

## Slide 20
Automatically generated documentation for Sequencer scripts

## Slide 21
Jenkins builds
Next steps:
Use ESO scrips
Fix build problems

## Slide 22: METIS AOCS

## Slide 23: METIS SCAO Simplified Block Diagram
METIS AOCS is responsible for the AO wavefront correction of METIS.
It hosts the main wavefront control loop and a number of secondary control loops. Its real-time computer (RTC) consists of an HRTC and a SRTC.

## Slide 24: AOCS Subsystems with Main Data Paths

## Slide 25: METIS AOCS Implementation Decisions
It adheres to ESO ELT standards.
SRTC is built on top of RTC Toolkit.
HRTC uses GPUs in order to accelerate bulk matrix vector multiplications.
  It runs on ELT DevEnv.
  Only 3rd-party software: NVIDIA CUDA.