# FEROS Thorium Argon Calibration Lamps Log

Thorium Argon calibration lamps used in Feros must be of high purity type (HP) type 4060AHP

ThAr lamps list with respective S/N for each lamp received on January  2011. The spares

will be kept in the store room, ground floor NOB building

| Serial No. | Type | Status | When | Who | Comments |
| --- | --- | --- | --- | --- | --- |
|  |  | In use |  |  |  |
| 531290 | 4160AHP | FEROS |  | AGO | Used for test |
| 531402 | 4160AHP | Stock |  |  |  |
| 531485 | 4160AHP | Stock |  |  |  |
| 531488 | 4160AHP | Stock |  |  |  |
| 531489 | 4160AHP | Stock |  |  |  |
| 531490 | 4160AHP | Stock |  |  |  |
| 531491 | 4160AHP | Stock |  |  |  |
| 531493 | 4160AHP | Stock |  |  |  |
| 531497 | 4160AHP | Stock |  |  |  |
| 531498 | 4160AHP | Stock |  |  |  |